## Signature
Study Report
Assay Name | WRN(517-1238)_ATP preincubation_FI_IC50
Assay Goal | To assess the compounds inhibition on WRN (517-1238)_ATP preincubation
Study Number | RFP-2024112501
Experiment Type | 10 doses in duplicate, IC50
Samples Receive Date | 2024-11-26
Experiment Date | 2024-11-26
Report Release Date | 2024-11-26
Assay Performed by | Mingzhen Li
Report Prepared by | Mingzhen Li
Report reviewer | Jialong Ma
Report Approval | Qiang Xia
Submitted to | 湖北生物医药产业技术研究院有限公司
Submitted by | ICE Bioscience InC.

## Assay summary
Assay date | Assay name | Compounds ID | Bottom | Top | IC50 (nM) | Hillslope | Comments |  | SOP # | Scientist
2024/11/26 | WRN(517-1238) in FI assay_ATP preincubation | HW350003A | 8.2112 | 95.8482 | 103.3777 | 1.0341 | Reference | Compound state | SOP-BA-1240 | Mingzhen Li
|  | HW356041 | -0.28523 | 95.6201 | 436.2663 | 0.84609 | / | clear
|  | HW356051 | 3.1722 | 91.7593 | 215.722 | 1.1933 | / | clear
|  | HW356052 | 2.8485 | 91.1535 | 551.8904 | 1.0111 | / | clear
|  | HW356053 |  |  | >10000 |  | / | clear

## Assay protocol
Ⅰ | Reagent, Consumables and Instruments
| Reagent | Vendor | Cat No.
| capture DNA | ICE | ICE-WDU-114
| dsDNA-secquence 2 | ICE | ICE-WDU-113
| WRN (517-1238) | ICE | S2212T-H56HZ
| ATP | Ark Pharm | Ak-54737
| Consumables | Vendor | Cat No.
| 96 Well Plates | Nunc | 249944
| 384-well plate | Corning | 4514
| Instrument | Vendor | Cat No.
| ECHO®655 SYSTEM | LABCYTE | 655
| Centrifuge | Cence | TDZ5-WS
| Microplate Reader | BMG | CLARIO Star Plusacu
Ⅱ | Compound Information and Treatment
| Entry | Compound ID | Stock Conc. (mM) | Start Conc. (nM) | Dilution folds | 化合物顺序如左侧：
| R | HW350003A | 10 | 10000 | 3
| 1 | HW356041 | 10 | 10000 | 3
| 2 | HW356051 | 10 | 10000 | 3
| 3 | HW356052 | 10 | 10000 | 3
| 4 | HW356053 | 10 | 10000 | 3
Ⅲ | Compounds Storage.
All test compounds are provided by湖北生物医药产业技术研究院有限公司, and storaged in ICE.
Ⅳ | Reaction conditions
| Reaction ID | WRN (517-1238) | ATP | dsDNA-secquence 2 | capture DNA
| Work Conc. | 5 nM | 4 mM | 100 nM | 1 μM
Ⅴ | Experiment Procedure
a) | Add 60 μL compounds to 384-well dilution plate
b) | Dilute compounds 1:3 in succession in DMSO for each column for 10 pts (refer to dilution plate map)
c) | Transfer 0.15 μL diluted compounds solution in each row to 384 assay plate using Echo, each column containing 2 replicates (refer to assay plate map)
d) | Add 5 μL enzyme working solution containing 0.2 mM ATP to 384-well assay plate, and centrifuge at 1000 rpm for 1 min
e) | Incubate at 25℃ for 4 h
f) | Add 5 μL dsDNA-secquence 2 and capture DNA working solution, and centrifuge at 1000 rpm for 1 min
g) | Add 5 μL ATP working solution to initiate reaction , and centrifuge at 1000 rpm for 1 min
h) | Incubate at 25℃ for 30 min
i) | Reading Ex620 nm and Em685 nm fluorescence signals with BMG
VI | Data Analysis
a) | Percent inhibition(% inh) for compound well = 100*(ave High control - cpd well)/(ave High control - ave Low control)
b) | Assay robustness check with Low control and High control data:
High control: DMSO and Enzyme
Low control: DMSO and Assay buffer
S/B =ave High control/ave Low control,
CV%(Low control)=100* (SD Low control/ave Low control)
CV%(High control)=100*( SD High control/ave High control)
Z’=1-3*(SD Low control+ SD High control)/(ave High control- ave Low control)
c) | Fit the cpd IC50 from non-linear regression equation by XLfit 5.5.0
Y=Bottom + (Top-Bottom)/(1+10^((LogIC50-X)*HillSlope))
X: Log of cpd concentration
Y: Percent inhibition(% inh)
Top and Bottom: Plateaus in same units as Y
logIC50: same log units as X
HillSlope: Slope factor or Hill slope
Ⅶ | Data Collection
Data exported from BMG as an Excel file is uploaded into D:\B01Y202202-115\IBC\E3\LMZ\湖北生物\WRN\20241126\RFP-2024112501

## Raw data analysis
Assay platemap | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | Low Control | Ref | 10 points | [8 empty] | High Control
B | Low Control | [10 empty] | High Control
C | Low Control | Cmpd-1 | 10 points | [8 empty] | High Control
D | Low Control | [10 empty] | High Control
E | Low Control | Cmpd-2 | 10 points | [8 empty] | High Control
F | Low Control | [10 empty] | High Control
G | Low Control | Cmpd-3 | 10 points | [8 empty] | High Control
H | Low Control | [10 empty] | High Control
I | Low Control | Cmpd-4 | 10 points | [8 empty] | High Control
J | Low Control | [10 empty] | High Control
K
L
M
N
O
P
Raw data | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 4558 | 5832 | 7743 | 9129 | 12637 | 21664 | 28510 | 36587 | 38730 | 36271 | 40414 | 40886
B | 4241 | 5739 | 6859 | 8569 | 12369 | 21930 | 30653 | 36621 | 38440 | 38920 | 40723 | 41216
C | 4179 | 8884 | 11043 | 15126 | 22673 | 33353 | 36679 | 40527 | 41523 | 40783 | 42153 | 45532
D | 4549 | 8405 | 11425 | 20588 | 27874 | 36384 | 35031 | 44190 | 47113 | 40983 | 42944 | 47132
E | 4030 | 6339 | 9073 | 12105 | 18780 | 30018 | 40171 | 39206 | 43902 | 39278 | 40695 | 42060
F | 4704 | 6501 | 11003 | 12500 | 18757 | 29375 | 36056 | 41030 | 42562 | 40854 | 41008 | 43488
G | 4493 | 9766 | 12821 | 18053 | 26139 | 35800 | 41696 | 44114 | 40613 | 39135 | 42992 | 41922
H | 4036 | 9175 | 11138 | 22049 | 28904 | 32276 | 42390 | 41247 | 36026 | 42071 | 42738 | 40886
I | 4135 | 28909 | 23337 | 30257 | 30081 | 33705 | 39398 | 36827 | 37507 | 40958 | 41217 | 39968
J | 4461 | 27599 | 25331 | 28473 | 29047 | 75420 | 37236 | 36488 | 46492 | 42419 | 41256 | 44815
K
L
M
N
O
P
|  | SD | CV | Z' | S/B
AVE(Low Control) | 4338.6 | 229.7813 | 5.296% | 0.80773 | 9.8627
AVE(High Control) | 42790.5 | 2234.6649 | 5.222%
Inhibition | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
HW350003A |  | 96.1162 | 91.1463 | 87.5418 | 78.4188 | 54.9427 | 37.1386 | 16.1331 | 10.5599 | 16.9549 | 6.1804
|  | 96.358 | 93.4453 | 88.9982 | 79.1157 | 54.2509 | 31.5654 | 16.0447 | 11.3141 | 10.0658 | 5.3768
HW356041 |  | 88.179 | 82.5642 | 71.9457 | 52.3186 | 24.5437 | 15.8939 | 5.8866 | 3.2963 | 5.2208 | 1.6579
|  | 89.4247 | 81.5707 | 57.741 | 38.7926 | 16.6611 | 20.1798 | -3.6396 | -11.2413 | 4.7007 | -0.3992
HW356051 |  | 94.7977 | 87.6875 | 79.8023 | 62.4429 | 33.2168 | 6.8124 | 9.322 | -2.8906 | 9.1348 | 5.4497
|  | 94.3764 | 82.6682 | 78.775 | 62.5028 | 34.889 | 17.5141 | 4.5784 | 0.59425 | 5.0362 | 4.6357
HW356052 |  | 85.8852 | 77.9402 | 64.3336 | 43.3048 | 18.1799 | 2.8464 | -3.442 | 5.6629 | 9.5067 | -0.52403
|  | 87.4222 | 82.3171 | 53.9414 | 36.114 | 27.3446 | 1.0416 | 4.0141 | 17.5921 | 1.8712 | 0.13653
HW356053 |  | 36.1009 | 50.5918 | 32.5953 | 33.053 | 23.6282 | 8.8227 | 15.509 | 13.7405 | 4.7657 | 4.0921
|  | 39.5078 | 45.4061 | 37.2348 | 35.7421 | -84.858 | 14.4453 | 16.3906 | -9.6263 | 0.96614 | 3.9907
HW350003A in WRN(517-1238) in FI assay_ATP preincubation
| HW350003A |  | Inhibition% | [6 empty] | #Ok
| Conc (nM) | Rep 1 | Rep 2 | Mean | SD | Bottom | Top | IC50 | Hill Slope | #Ok
| 10000 | 96.1162 | 96.358 | 96.2371 | 0.17102 | 8.2112 | 95.8482 | 103.3777 | 1.0341 | IC50=103nM
| 3333.3333 | 91.1463 | 93.4453 | 92.2958 | 1.6256
| 1111.1111 | 87.5418 | 88.9982 | 88.27 | 1.0298
| 370.3704 | 78.4188 | 79.1157 | 78.7672 | 0.49284
| 123.4568 | 54.9427 | 54.2509 | 54.5968 | 0.48916
| 41.1523 | 37.1386 | 31.5654 | 34.352 | 3.9408
| 13.7174 | 16.1331 | 16.0447 | 16.0889 | 0.062524
| 4.5725 | 10.5599 | 11.3141 | 10.937 | 0.53329
| 1.5242 | 16.9549 | 10.0658 | 13.5104 | 4.8713
| 0.50805 | 6.1804 | 5.3768 | 5.7786 | 0.56823
HW356041 in WRN(517-1238) in FI assay_ATP preincubation
| HW356041 |  | Inhibition% | [6 empty] | #Ok
| Conc (nM) | Rep 1 | Rep 2 | Mean | SD | Bottom | Top | IC50 | Hill Slope | #Ok
| 10000 | 88.179 | 89.4247 | 88.8019 | 0.88085 | -0.28523 | 95.6201 | 436.2663 | 0.84609 | IC50=436nM
| 3333.3333 | 82.5642 | 81.5707 | 82.0675 | 0.70247
| 1111.1111 | 71.9457 | 57.741 | 64.8433 | 10.0443
| 370.3704 | 52.3186 | 38.7926 | 45.5556 | 9.5643
| 123.4568 | 24.5437 | 16.6611 | 20.6024 | 5.5738
| 41.1523 | 15.8939 | 20.1798 | 18.0368 | 3.0306
| 13.7174 | 5.8866 | -3.6396 | 1.1235 | 6.736
| 4.5725 | 3.2963 | -11.2413 | -3.9725 | 10.2797
| 1.5242 | 5.2208 | 4.7007 | 4.9607 | 0.36779
| 0.50805 | 1.6579 | -0.3992 | 0.62936 | 1.4546
HW356051 in WRN(517-1238) in FI assay_ATP preincubation
| HW356051 |  | Inhibition% | [6 empty] | #Ok
| Conc (nM) | Rep 1 | Rep 2 | Mean | SD | Bottom | Top | IC50 | Hill Slope | #Ok
| 10000 | 94.7977 | 94.3764 | 94.587 | 0.29791 | 3.1722 | 91.7593 | 215.722 | 1.1933 | IC50=216nM
| 3333.3333 | 87.6875 | 82.6682 | 85.1778 | 3.5492
| 1111.1111 | 79.8023 | 78.775 | 79.2887 | 0.72638
| 370.3704 | 62.4429 | 62.5028 | 62.4729 | 0.042296
| 123.4568 | 33.2168 | 34.889 | 34.0529 | 1.1824
| 41.1523 | 6.8124 | 17.5141 | 12.1632 | 7.5672
| 13.7174 | 9.322 | 4.5784 | 6.9502 | 3.3542
| 4.5725 | -2.8906 | 0.59425 | -1.1482 | 2.4642
| 1.5242 | 9.1348 | 5.0362 | 7.0855 | 2.8982
| 0.50805 | 5.4497 | 4.6357 | 5.0427 | 0.57559
HW356052 in WRN(517-1238) in FI assay_ATP preincubation
| HW356052 |  | Inhibition% | [6 empty] | #Ok
| Conc (nM) | Rep 1 | Rep 2 | Mean | SD | Bottom | Top | IC50 | Hill Slope | #Ok
| 10000 | 85.8852 | 87.4222 | 86.6537 | 1.0868 | 2.8485 | 91.1535 | 551.8904 | 1.0111 | IC50=552nM
| 3333.3333 | 77.9402 | 82.3171 | 80.1287 | 3.0949
| 1111.1111 | 64.3336 | 53.9414 | 59.1375 | 7.3484
| 370.3704 | 43.3048 | 36.114 | 39.7094 | 5.0847
| 123.4568 | 18.1799 | 27.3446 | 22.7622 | 6.4804
| 41.1523 | 2.8464 | 1.0416 | 1.944 | 1.2762
| 13.7174 | -3.442 | 4.0141 | 0.28607 | 5.2722
| 4.5725 | 5.6629 | 17.5921 | 11.6275 | 8.4352
| 1.5242 | 9.5067 | 1.8712 | 5.6889 | 5.3991
| 0.50805 | -0.52403 | 0.13653 | -0.19375 | 0.46709
HW356053 in WRN(517-1238) in FI assay_ATP preincubation
| HW356053 |  | Inhibition% | [6 empty] | #Ok
| Conc (nM) | Rep 1 | Rep 2 | Mean | SD | Bottom | Top | IC50 | Hill Slope | #Ok
| 10000 | 36.1009 | 39.5078 | 37.8044 | 2.409 |  |  | >10000 |  | IC50>10000nM
| 3333.3333 | 50.5918 | 45.4061 | 47.9989 | 3.6668
| 1111.1111 | 32.5953 | 37.2348 | 34.915 | 3.2807
| 370.3704 | 33.053 | 35.7421 | 34.3975 | 1.9015
| 123.4568 | 23.6282 | -92.77 * | 23.6282
| 41.1523 | 8.8227 | 14.4453 | 11.634 | 3.9758
| 13.7174 | 15.509 | 16.3906 | 15.9498 | 0.6234
| 4.5725 | 13.7405 | -14.32 * | 13.7405
| 1.5242 | 4.7657 | 0.96614 | 2.8659 | 2.6867
| 0.50805 | 4.0921 | 3.9907 | 4.0414 | 0.071719
Note on K61: XLfit: Fit Cell Model: 205 Data: B61:B71,E61:E71
Note on K62: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = K59)
Note on K76: XLfit: Fit Cell Model: 205 Data: B61:B71,E61:E71
Note on K77: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = K59)
Note on K91: XLfit: Fit Cell Model: 205 Data: B61:B71,E61:E71
Note on K92: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = K59)
Note on K106: XLfit: Fit Cell Model: 205 Data: B61:B71,E61:E71
Note on K107: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = K59)
Note on K121: XLfit: Fit Cell Model: 205 Data: B61:B71,E61:E71
Note on K122: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = K59)

## Raw data
User: Enzyme-LT
Path: C:\Program Files (x86)\BMG\CLARIOstar\Enzyme-LT\Data
Test ID: 10523
Test Name: wrn fi
Date: 2024/11/26
Time: 15:50:09
Fluorescence (FI)
Raw Data (620-15/685-20)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 4558 | 5832 | 7743 | 9129 | 12637 | 21664 | 28510 | 36587 | 38730 | 36271 | 40414 | 40886
B | 4241 | 5739 | 6859 | 8569 | 12369 | 21930 | 30653 | 36621 | 38440 | 38920 | 40723 | 41216
C | 4179 | 8884 | 11043 | 15126 | 22673 | 33353 | 36679 | 40527 | 41523 | 40783 | 42153 | 45532
D | 4549 | 8405 | 11425 | 20588 | 27874 | 36384 | 35031 | 44190 | 47113 | 40983 | 42944 | 47132
E | 4030 | 6339 | 9073 | 12105 | 18780 | 30018 | 40171 | 39206 | 43902 | 39278 | 40695 | 42060
F | 4704 | 6501 | 11003 | 12500 | 18757 | 29375 | 36056 | 41030 | 42562 | 40854 | 41008 | 43488
G | 4493 | 9766 | 12821 | 18053 | 26139 | 35800 | 41696 | 44114 | 40613 | 39135 | 42992 | 41922
H | 4036 | 9175 | 11138 | 22049 | 28904 | 32276 | 42390 | 41247 | 36026 | 42071 | 42738 | 40886
I | 4135 | 28909 | 23337 | 30257 | 30081 | 33705 | 39398 | 36827 | 37507 | 40958 | 41217 | 39968
J | 4461 | 27599 | 25331 | 28473 | 29047 | 75420 | 37236 | 36488 | 46492 | 42419 | 41256 | 44815
K
L
M
N
O
P

## Compound information
湖北生物医药产业技术研究院有限公司化合物样品送样单
|  | 送样人： （签名） | 送样日期： （必填）
样品信息
化合物编号 （必填） | 批号 | 分子量（M.W) （必填） | 纯度 | 样品量（mg） | 储液浓度(mM) | 溶剂体积(μL)
HW356041 | HWH817-XQ-35-6041P2 | 518.2/游离碱 | 95.5% | 3.5 | 10 | 645.0835
HW356051 | HWH817-XQ-35-6051 | 556.1/游离碱 | 94.4% | 3.54 | 10 | 600.8955
HW356052 | HWH817-XQ-35-6052 | 532.2/游离碱 | 98.9% | 3.62 | 10 | 672.7512
HW356053 | HWH817-XQ-35-6053 | 600.2/游离碱 | 99.3% | 3.65 | 10 | 603.914
HW350003A | 20240618 | 437.5/游离碱 | 98.41% | 3.7 | 10 | 832.3435
接收单位