## CoverPage
3D BioOptima Quality That Matters
实验报告
实验标题 | HW356060在人、犬、猴、大鼠和小鼠(五种属)肝微粒体代谢稳定性研究（加入二相代谢辅酶）
实验方案编号 | 3D_PN322805
课题编号 | 3D_SN322409
课题负责人 | 杨德孝
化合物 | HW356060
实验开始时间 | 2025 年 03 月 25 日
实验结束时间 | 2025 年 03 月 27 日
实验参与人员 | 韩晓逸和蔡鑫鑫
报告撰写 | 卜乐亮
数据质控 | 程翠
实验负责方 | 苏州圣苏新药开发有限公司 苏州市吴中区吴中大道1338号
实验委托方 | 湖北生物医药产业技术研究院有限公司 武汉市东湖高新区高新大道666号C7栋217室

## Summary
试剂信息
试剂 | 品牌 | 货号 | 批号
人肝微粒体 | BIOIVT | X008070 | IVX
猴肝微粒体 | RILD | MZYM | MZYM
犬肝微粒体 | CORNING | 452601 | 1291001
大鼠肝微粒体 | CORNING | 452501 | 2175001
小鼠肝微粒体 | CORNING | 452701 | 1237001
NADPH | REGAL | 44332900-Y | 050201
HW356060 | 湖北生物医药产业技术研究院有限公司 | NA | HWH817-YBC-035-4-38-1
NA
孵育体系
肝微粒体 | 0.5 mg/mL（受试化合物） 0.2 mg/mL（咪达唑仑，7-HC）
孵育缓冲液 | 磷酸缓冲液 (100 mM，pH 7.4)
受试物 | 1 µM
孵育体积 | 0.2 mL（受试化合物） 0.1 mL（咪达唑仑，7-HC）
孵育时间 | 0、5、15、30、60 min (受试化合物) 0、5、20 min（咪达唑仑，7-HC）
MgCl2 | 3 mM
NADPH | 1 mM
平行试验 | 平行2份
Summary
化合物 | 种属 | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins) | CLint, in vivo (mL/min/kg)
HW356060 | Human | 0.00055754 | 1504.1025 | 1.1151 | 1.0537
| Monkey | NA | NA | NA | NA
| Dog | NA | NA | NA | NA
| Rat | NA | NA | NA | NA
| Mouse | 0.00090214 | 768.1747 | 1.8043 | 7.1043
Midazolam | Human | 0.09071 | 7.6398 | 453.5508 | 428.6055
| Monkey | 0.13685 | 5.0639 | 684.2535 | 985.3251
| Dog | 0.14782 | 4.6881 | 739.1204 | 1064.3334
| Rat | 0.095423 | 7.267 | 477.1156 | 858.8081
| Mouse | 0.30578 | 2.2674 | 1528.9181 | 6020.1149
7-HC | Human | 0.043828 | 16.0045 | 219.1387 | 207.0861
| Monkey | 0.027622 | 25.3349 | 138.1111 | 198.88
| Dog | 0.039934 | 17.4149 | 199.6718 | 287.5274
| Rat | 0.034705 | 19.9684 | 173.5242 | 312.3435
| Mouse | 0.087695 | 7.9064 | 438.4752 | 1726.4961
Drug elimination rate constant k (1/min), elimination half-life T1/2 (min), and in vitro intrinsic clearance CLint, in vitro (µL/min/mg protein) were calculated according to the following equations: k = - slope T1/2 = 0.693/k CLint, in vitro = k/Cprotein where Cprotein (mg/mL) is the microsomal protein concentration in the incubation system.
CLint, in vivo = CLint, in vitro (mL/min/mg microsomal protein) × Scaling factor (physiological parameter) = CLint, in vitro (mL/min/mg microsomal protein) × Microsomal protein (mg protein/g liver) × Liver weight (g liver/kg body weight)
CLint, in vivo is the intrinsic hepatic clearance, CLint, in vitro is the intrinsic clearance in LMs.
Species | Body Weight | Qh | Microsomes Protein | Liver Weight
| (kg) | mL/min/kg | mg protein/g liver | g liver/kg
Mouse | 0.02 | 90 | 45 | 87.5
Rat | 0.25 | 70 | 45 | 40
Monkey | 3.5 | 44 | 45 | 32
Dog | 12.5 | 40 | 45 | 32
Human | 70 | 20 | 45 | 21
Natilie A. Hosea (2009), and Davies and Morris (1993).

## HW356060
HW356060在人肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
HW356060在人肝微粒体中的代谢稳定性评估 | HW356060_HM-LM_60min-1 | 60 | 1.01 | 1.03 | 97.1154 | 4.5759 | 4.5496 | 4.5628
| HW356060_HM-LM_60min-2 |  | 1.05 |  | 94.5946
| HW356060_HM-LM_30min-1 | 30 | 1.09 | 1.045 | 104.8077 | 4.6521 | 4.5008 | 4.5765
| HW356060_HM-LM_30min-2 |  | 1 |  | 90.0901
| HW356060_HM-LM_15min-1 | 15 | 1.12 | 1.09 | 107.6923 | 4.6793 | 4.5591 | 4.6192
| HW356060_HM-LM_15min-2 |  | 1.06 |  | 95.4955
| HW356060_HM-LM_5min-1 | 5 | 1.01 | 1.035 | 97.1154 | 4.5759 | 4.5591 | 4.5675
| HW356060_HM-LM_5min-2 |  | 1.06 |  | 95.4955
| HW356060_HM-LM_0min-1 | 0 | 1.04 | 1.075 | 100 | 4.6052 | 4.6052 | 4.6052
| HW356060_HM-LM_0min-2 |  | 1.11 |  | 100
概要 |  | HW356060在人肝微粒体中的代谢稳定性评估
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.00032523 | 2130.822 | 0.65045
#2 |  | 0.00078985 | 877.383 | 1.5797
平均值 |  | 0.00055754 | 1504.1025 | 1.1151
HW356060在猴肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
HW356060在猴肝微粒体中的代谢稳定性评估 | HW356060_MK-LM_60min-1 | 60 | 1.18 | 1.15 | 112.381 | 4.7219 | 4.7085 | 4.7152
| HW356060_MK-LM_60min-2 |  | 1.12 |  | 110.8911
| HW356060_MK-LM_30min-1 | 30 | 1.08 | 1.045 | 102.8571 | 4.6333 | 4.6052 | 4.6193
| HW356060_MK-LM_30min-2 |  | 1.01 |  | 100
| HW356060_MK-LM_15min-1 | 15 | 1.12 | 1.11 | 106.6667 | 4.6697 | 4.6905 | 4.6801
| HW356060_MK-LM_15min-2 |  | 1.1 |  | 108.9109
| HW356060_MK-LM_5min-1 | 5 | 1.04 | 1.04 | 99.0476 | 4.5956 | 4.6344 | 4.615
| HW356060_MK-LM_5min-2 |  | 1.04 |  | 102.9703
| HW356060_MK-LM_0min-1 | 0 | 1.05 | 1.03 | 100 | 4.6052 | 4.6052 | 4.6052
| HW356060_MK-LM_0min-2 |  | 1.01 |  | 100
概要 |  | HW356060在猴肝微粒体中的代谢稳定性评估
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | NA | NA | NA
#2 |  | NA | NA | NA
平均值 |  | NA | NA | NA
HW356060在犬肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
HW356060在犬肝微粒体中的代谢稳定性评估 | HW356060_BD-LM_60min-1 | 60 | 1.26 | 1.275 | 100 | 4.6052 | 4.7114 | 4.6583
| HW356060_BD-LM_60min-2 |  | 1.29 |  | 111.2069
| HW356060_BD-LM_30min-1 | 30 | 1.17 | 1.14 | 92.8571 | 4.5311 | 4.5611 | 4.5461
| HW356060_BD-LM_30min-2 |  | 1.11 |  | 95.6897
| HW356060_BD-LM_15min-1 | 15 | 1.22 | 1.185 | 96.8254 | 4.5729 | 4.5965 | 4.5847
| HW356060_BD-LM_15min-2 |  | 1.15 |  | 99.1379
| HW356060_BD-LM_5min-1 | 5 | 1.19 | 1.175 | 94.4444 | 4.548 | 4.6052 | 4.5766
| HW356060_BD-LM_5min-2 |  | 1.16 |  | 100
| HW356060_BD-LM_0min-1 | 0 | 1.26 | 1.21 | 100 | 4.6052 | 4.6052 | 4.6052
| HW356060_BD-LM_0min-2 |  | 1.16 |  | 100
概要 |  | HW356060在犬肝微粒体中的代谢稳定性评估
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | NA | NA | NA
#2 |  | NA | NA | NA
平均值 |  | NA | NA | NA
HW356060在大鼠肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
HW356060在大鼠肝微粒体中的代谢稳定性评估 | HW356060_SR-LM_60min-1 | 60 | 1.26 | 1.275 | 102.439 | 4.6293 | 4.5974 | 4.6134
| HW356060_SR-LM_60min-2 |  | 1.29 |  | 99.2308
| HW356060_SR-LM_30min-1 | 30 | 1.21 | 1.245 | 98.374 | 4.5888 | 4.5897 | 4.5892
| HW356060_SR-LM_30min-2 |  | 1.28 |  | 98.4615
| HW356060_SR-LM_15min-1 | 15 | 1.22 | 1.235 | 99.187 | 4.597 | 4.5659 | 4.5815
| HW356060_SR-LM_15min-2 |  | 1.25 |  | 96.1538
| HW356060_SR-LM_5min-1 | 5 | 1.2 | 1.195 | 97.561 | 4.5805 | 4.5168 | 4.5486
| HW356060_SR-LM_5min-2 |  | 1.19 |  | 91.5385
| HW356060_SR-LM_0min-1 | 0 | 1.23 | 1.265 | 100 | 4.6052 | 4.6052 | 4.6052
| HW356060_SR-LM_0min-2 |  | 1.3 |  | 100
概要 |  | HW356060在大鼠肝微粒体中的代谢稳定性评估
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | NA | NA | NA
#2 |  | NA | NA | NA
平均值 |  | NA | NA | NA
HW356060在小鼠肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
HW356060在小鼠肝微粒体中的代谢稳定性评估 | HW356060_MU-LM_60min-1 | 60 | 1.39 | 1.34 | 105.303 | 4.6568 | 4.5377 | 4.5973
| HW356060_MU-LM_60min-2 |  | 1.29 |  | 93.4783
| HW356060_MU-LM_30min-1 | 30 | 1.29 | 1.295 | 97.7273 | 4.5822 | 4.5455 | 4.5638
| HW356060_MU-LM_30min-2 |  | 1.3 |  | 94.2029
| HW356060_MU-LM_15min-1 | 15 | 1.3 | 1.31 | 98.4848 | 4.5899 | 4.5607 | 4.5753
| HW356060_MU-LM_15min-2 |  | 1.32 |  | 95.6522
| HW356060_MU-LM_5min-1 | 5 | 1.34 | 1.335 | 101.5152 | 4.6202 | 4.5683 | 4.5942
| HW356060_MU-LM_5min-2 |  | 1.33 |  | 96.3768
| HW356060_MU-LM_0min-1 | 0 | 1.32 | 1.35 | 100 | 4.6052 | 4.6052 | 4.6052
| HW356060_MU-LM_0min-2 |  | 1.38 |  | 100
概要 |  | HW356060在小鼠肝微粒体中的代谢稳定性评估
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | NA | NA | NA
#2 |  | 0.00090214 | 768.1747 | 1.8043
平均值 |  | 0.00090214 | 768.1747 | 1.8043

## Midazolam
咪达唑仑在人肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
咪达唑仑 人肝微粒体 | Midazolam_HM-LM_20min-1 | 20 | 0.567 | 0.579 | 16.108 | 2.7793 | 2.8236 | 2.8015
| Midazolam_HM-LM_20min-2 |  | 0.591 |  | 16.8376
| Midazolam_HM-LM_5min-1 | 5 | 2.2 | 2.32 | 62.5 | 4.1352 | 4.2416 | 4.1884
| Midazolam_HM-LM_5min-2 |  | 2.44 |  | 69.5157
| Midazolam_HM-LM_0min-1 | 0 | 3.52 | 3.515 | 100 | 4.6052 | 4.6052 | 4.6052
| Midazolam_HM-LM_0min-2 |  | 3.51 |  | 100
概要 |  | 咪达唑仑 人肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.091085 | 7.6083 | 455.4227
#2 |  | 0.090336 | 7.6714 | 451.6789
平均值 |  | 0.09071 | 7.6398 | 453.5508
咪达唑仑在猴肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
咪达唑仑 猴肝微粒体 | Midazolam_MK-LM_20min-1 | 20 | 0.216 | 0.216 | 6.6667 | 1.8971 | 1.891 | 1.894
| Midazolam_MK-LM_20min-2 |  | 0.216 |  | 6.6258
| Midazolam_MK-LM_5min-1 | 5 | 1.8 | 1.795 | 55.5556 | 4.0174 | 4.0057 | 4.0115
| Midazolam_MK-LM_5min-2 |  | 1.79 |  | 54.908
| Midazolam_MK-LM_0min-1 | 0 | 3.24 | 3.25 | 100 | 4.6052 | 4.6052 | 4.6052
| Midazolam_MK-LM_0min-2 |  | 3.26 |  | 100
概要 |  | 咪达唑仑 猴肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.13678 | 5.0667 | 683.8761
#2 |  | 0.13693 | 5.0611 | 684.631
平均值 |  | 0.13685 | 5.0639 | 684.2535
咪达唑仑在犬肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
咪达唑仑 犬肝微粒体 | Midazolam_BD-LM_20min-1 | 20 | 0.169 | 0.174 | 5.4167 | 1.6895 | 1.7123 | 1.7009
| Midazolam_BD-LM_20min-2 |  | 0.179 |  | 5.5418
| Midazolam_BD-LM_5min-1 | 5 | 1.8 | 1.82 | 57.6923 | 4.0551 | 4.0425 | 4.0488
| Midazolam_BD-LM_5min-2 |  | 1.84 |  | 56.9659
| Midazolam_BD-LM_0min-1 | 0 | 3.12 | 3.175 | 100 | 4.6052 | 4.6052 | 4.6052
| Midazolam_BD-LM_0min-2 |  | 3.23 |  | 100
概要 |  | 咪达唑仑 犬肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.14854 | 4.6655 | 742.6821
#2 |  | 0.14711 | 4.7107 | 735.5588
平均值 |  | 0.14782 | 4.6881 | 739.1204
咪达唑仑在大鼠肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
咪达唑仑 大鼠肝微粒体 | Midazolam_SR-LM_20min-1 | 20 | 0.473 | 0.496 | 14.0774 | 2.6446 | 2.7494 | 2.697
| Midazolam_SR-LM_20min-2 |  | 0.519 |  | 15.6325
| Midazolam_SR-LM_5min-1 | 5 | 2.03 | 2.075 | 60.4167 | 4.1013 | 4.1566 | 4.1289
| Midazolam_SR-LM_5min-2 |  | 2.12 |  | 63.8554
| Midazolam_SR-LM_0min-1 | 0 | 3.36 | 3.34 | 100 | 4.6052 | 4.6052 | 4.6052
| Midazolam_SR-LM_0min-2 |  | 3.32 |  | 100
概要 |  | 咪达唑仑 大鼠肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.097818 | 7.0846 | 489.0921
#2 |  | 0.093028 | 7.4494 | 465.1391
平均值 |  | 0.095423 | 7.267 | 477.1156
咪达唑仑在小鼠肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
咪达唑仑 小鼠肝微粒体 | Midazolam_MU-LM_20min-1 | 20 | 0.00741 | 0.006645 | 0.25552 | -1.3645 | -1.6263 | -1.4954
| Midazolam_MU-LM_20min-2 |  | 0.00588 |  | 0.19666
| Midazolam_MU-LM_5min-1 | 5 | 0.672 | 0.673 | 23.1724 | 3.143 | 3.1154 | 3.1292
| Midazolam_MU-LM_5min-2 |  | 0.674 |  | 22.5418
| Midazolam_MU-LM_0min-1 | 0 | 2.9 | 2.945 | 100 | 4.6052 | 4.6052 | 4.6052
| Midazolam_MU-LM_0min-2 |  | 2.99 |  | 100
概要 |  | 咪达唑仑 小鼠肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.29895 | 2.3181 | 1494.7321
#2 |  | 0.31262 | 2.2167 | 1563.1041
平均值 |  | 0.30578 | 2.2674 | 1528.9181

## 7-HC
7-HC在人肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
7-HC 人肝微粒体 | 7-HC_HM-LM_20min-1 | 20 | 0.081 | 0.0758 | 45 | 3.8067 | 3.6258 | 3.7162
| 7-HC_HM-LM_20min-2 |  | 0.0706 |  | 37.5532
| 7-HC_HM-LM_5min-1 | 5 | 0.139 | 0.1415 | 77.2222 | 4.3467 | 4.3385 | 4.3426
| 7-HC_HM-LM_5min-2 |  | 0.144 |  | 76.5957
| 7-HC_HM-LM_0min-1 | 0 | 0.18 | 0.184 | 100 | 4.6052 | 4.6052 | 4.6052
| 7-HC_HM-LM_0min-2 |  | 0.188 |  | 100
概要 |  | 7-HC 人肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.03902 | 17.7602 | 195.0995
#2 |  | 0.048636 | 14.2488 | 243.1779
平均值 |  | 0.043828 | 16.0045 | 219.1387
7-HC在猴肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
7-HC 猴肝微粒体 | 7-HC_MK-LM_20min-1 | 20 | 0.106 | 0.1095 | 52.4752 | 3.9603 | 4.1068 | 4.0336
| 7-HC_MK-LM_20min-2 |  | 0.113 |  | 60.7527
| 7-HC_MK-LM_5min-1 | 5 | 0.152 | 0.158 | 75.2475 | 4.3208 | 4.4793 | 4.4
| 7-HC_MK-LM_5min-2 |  | 0.164 |  | 88.172
| 7-HC_MK-LM_0min-1 | 0 | 0.202 | 0.194 | 100 | 4.6052 | 4.6052 | 4.6052
| 7-HC_MK-LM_0min-2 |  | 0.186 |  | 100
概要 |  | 7-HC 猴肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.030346 | 22.8364 | 151.7318
#2 |  | 0.024898 | 27.8335 | 124.4904
平均值 |  | 0.027622 | 25.3349 | 138.1111
7-HC在犬肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
7-HC 犬肝微粒体 | 7-HC_BD-LM_20min-1 | 20 | 0.0879 | 0.08175 | 47.0053 | 3.8503 | 3.7601 | 3.8052
| 7-HC_BD-LM_20min-2 |  | 0.0756 |  | 42.9545
| 7-HC_BD-LM_5min-1 | 5 | 0.153 | 0.148 | 81.8182 | 4.4045 | 4.3975 | 4.401
| 7-HC_BD-LM_5min-2 |  | 0.143 |  | 81.25
| 7-HC_BD-LM_0min-1 | 0 | 0.187 | 0.1815 | 100 | 4.6052 | 4.6052 | 4.6052
| 7-HC_BD-LM_0min-2 |  | 0.176 |  | 100
概要 |  | 7-HC 犬肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.037562 | 18.4496 | 187.8085
#2 |  | 0.042307 | 16.3803 | 211.5352
平均值 |  | 0.039934 | 17.4149 | 199.6718
7-HC在大鼠肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
7-HC 大鼠肝微粒体 | 7-HC_SR-LM_20min-1 | 20 | 0.0883 | 0.0882 | 49.6067 | 3.9041 | 3.9075 | 3.9058
| 7-HC_SR-LM_20min-2 |  | 0.0881 |  | 49.774
| 7-HC_SR-LM_5min-1 | 5 | 0.146 | 0.1465 | 82.0225 | 4.407 | 4.4195 | 4.4132
| 7-HC_SR-LM_5min-2 |  | 0.147 |  | 83.0508
| 7-HC_SR-LM_0min-1 | 0 | 0.178 | 0.1775 | 100 | 4.6052 | 4.6052 | 4.6052
| 7-HC_SR-LM_0min-2 |  | 0.177 |  | 100
概要 |  | 7-HC 大鼠肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.0347 | 19.9714 | 173.4981
#2 |  | 0.03471 | 19.9654 | 173.5502
平均值 |  | 0.034705 | 19.9684 | 173.5242
7-HC在小鼠肝微粒体中的代谢稳定性评估
样品 |  | 孵育时间 (min) | 峰面积比值 | 平均值 | 原药剩余量% | Ln (原药剩余量%) |  | 平均值
[6 empty] | #1 | #2
7-HC 小鼠肝微粒体 | 7-HC_MU-LM_20min-1 | 20 | 0.0306 | 0.02995 | 17.8947 | 2.8845 | 2.8066 | 2.8456
| 7-HC_MU-LM_20min-2 |  | 0.0293 |  | 16.5537
| 7-HC_MU-LM_5min-1 | 5 | 0.109 | 0.11 | 63.7427 | 4.1549 | 4.1386 | 4.1467
| 7-HC_MU-LM_5min-2 |  | 0.111 |  | 62.7119
| 7-HC_MU-LM_0min-1 | 0 | 0.171 | 0.174 | 100 | 4.6052 | 4.6052 | 4.6052
| 7-HC_MU-LM_0min-2 |  | 0.177 |  | 100
概要 |  | 7-HC 小鼠肝微粒体
|  | k (1/min) | T1/2 (min) | CLint, microsome (µL/min/mg proteins)
#1 |  | 0.085723 | 8.0842 | 428.6159
#2 |  | 0.089667 | 7.7286 | 448.3345
平均值 |  | 0.087695 | 7.9064 | 438.4752

## Raw Data
HW356060
Peak Name: Ver
Use as Internal Standard
Q1/Q3 Masses: 455.20/165.10 Da
Peak Name: Gli
Use as Internal Standard
Q1/Q3 Masses: 494.20/369.10 Da
Peak Name: HW356060-Ver
Internal Standard: Ver
Q1/Q3 Masses: 603.10/330.00 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Error | At least 2 points are required to calculate regression.
Use Area
Peak Name: HW356060-Gli
Internal Standard: Gli
Q1/Q3 Masses: 603.10/330.00 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Error | At least 2 points are required to calculate regression.
Use Area
Sample Name | Sample Type | Analyte Concentration (nM) | Dilution Factor | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Use Record | Record Modified | Calculated Concentration (nM) | Accuracy (%) | Vial Position | Rack Position | Acquisition Date
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 12:32:05 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 12:35:29 PM
HW356060_HM-LM_60min-1 | Unknown | N/A | 1 | 134000 | 133000 | 1.01 |  | 0 | 0 | N/A | 1 | 1 | 3/26/2025 12:38:56 PM
HW356060_HM-LM_60min-2 | Unknown | N/A | 1 | 136000 | 130000 | 1.05 |  | 0 | 0 | N/A | 2 | 1 | 3/26/2025 12:42:27 PM
HW356060_HM-LM_30min-1 | Unknown | N/A | 1 | 135000 | 124000 | 1.09 |  | 0 | 0 | N/A | 13 | 1 | 3/26/2025 12:45:56 PM
HW356060_HM-LM_30min-2 | Unknown | N/A | 1 | 122000 | 122000 | 1 |  | 0 | 0 | N/A | 14 | 1 | 3/26/2025 12:49:24 PM
HW356060_HM-LM_15min-1 | Unknown | N/A | 1 | 146000 | 131000 | 1.12 |  | 0 | 0 | N/A | 25 | 1 | 3/26/2025 12:52:53 PM
HW356060_HM-LM_15min-2 | Unknown | N/A | 1 | 140000 | 132000 | 1.06 |  | 0 | 0 | N/A | 26 | 1 | 3/26/2025 12:56:21 PM
HW356060_HM-LM_5min-1 | Unknown | N/A | 1 | 143000 | 142000 | 1.01 |  | 0 | 0 | N/A | 37 | 1 | 3/26/2025 12:59:49 PM
HW356060_HM-LM_5min-2 | Unknown | N/A | 1 | 143000 | 135000 | 1.06 |  | 0 | 0 | N/A | 38 | 1 | 3/26/2025 1:03:18 PM
HW356060_HM-LM_0min-1 | Unknown | N/A | 1 | 140000 | 134000 | 1.04 |  | 0 | 0 | N/A | 49 | 1 | 3/26/2025 1:06:47 PM
HW356060_HM-LM_0min-2 | Unknown | N/A | 1 | 136000 | 123000 | 1.11 |  | 0 | 0 | N/A | 50 | 1 | 3/26/2025 1:10:14 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 1:13:42 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 1:17:07 PM
HW356060_MK-LM_60min-1 | Unknown | N/A | 1 | 141000 | 119000 | 1.18 |  | 0 | 0 | N/A | 3 | 1 | 3/26/2025 1:20:36 PM
HW356060_MK-LM_60min-2 | Unknown | N/A | 1 | 134000 | 120000 | 1.12 |  | 0 | 0 | N/A | 4 | 1 | 3/26/2025 1:24:04 PM
HW356060_MK-LM_30min-1 | Unknown | N/A | 1 | 137000 | 127000 | 1.08 |  | 0 | 0 | N/A | 15 | 1 | 3/26/2025 1:27:32 PM
HW356060_MK-LM_30min-2 | Unknown | N/A | 1 | 129000 | 127000 | 1.01 |  | 0 | 0 | N/A | 16 | 1 | 3/26/2025 1:31:01 PM
HW356060_MK-LM_15min-1 | Unknown | N/A | 1 | 145000 | 130000 | 1.12 |  | 0 | 0 | N/A | 27 | 1 | 3/26/2025 1:34:29 PM
HW356060_MK-LM_15min-2 | Unknown | N/A | 1 | 146000 | 133000 | 1.1 |  | 0 | 0 | N/A | 28 | 1 | 3/26/2025 1:37:57 PM
HW356060_MK-LM_5min-1 | Unknown | N/A | 1 | 141000 | 135000 | 1.04 |  | 0 | 0 | N/A | 39 | 1 | 3/26/2025 1:41:26 PM
HW356060_MK-LM_5min-2 | Unknown | N/A | 1 | 137000 | 132000 | 1.04 |  | 0 | 0 | N/A | 40 | 1 | 3/26/2025 1:44:54 PM
HW356060_MK-LM_0min-1 | Unknown | N/A | 1 | 134000 | 128000 | 1.05 |  | 0 | 0 | N/A | 51 | 1 | 3/26/2025 1:48:23 PM
HW356060_MK-LM_0min-2 | Unknown | N/A | 1 | 125000 | 124000 | 1.01 |  | 0 | 0 | N/A | 52 | 1 | 3/26/2025 1:51:51 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 1:55:19 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 1:58:43 PM
HW356060_BD-LM_60min-1 | Unknown | N/A | 1 | 142000 | 113000 | 1.26 |  | 0 | 0 | N/A | 5 | 1 | 3/26/2025 2:02:13 PM
HW356060_BD-LM_60min-2 | Unknown | N/A | 1 | 133000 | 103000 | 1.29 |  | 0 | 0 | N/A | 6 | 1 | 3/26/2025 2:05:42 PM
HW356060_BD-LM_30min-1 | Unknown | N/A | 1 | 117000 | 100000 | 1.17 |  | 0 | 0 | N/A | 17 | 1 | 3/26/2025 2:09:11 PM
HW356060_BD-LM_30min-2 | Unknown | N/A | 1 | 120000 | 109000 | 1.11 |  | 0 | 0 | N/A | 18 | 1 | 3/26/2025 2:12:39 PM
HW356060_BD-LM_15min-1 | Unknown | N/A | 1 | 130000 | 107000 | 1.22 |  | 0 | 0 | N/A | 29 | 1 | 3/26/2025 2:16:07 PM
HW356060_BD-LM_15min-2 | Unknown | N/A | 1 | 122000 | 106000 | 1.15 |  | 0 | 0 | N/A | 30 | 1 | 3/26/2025 2:19:36 PM
HW356060_BD-LM_5min-1 | Unknown | N/A | 1 | 132000 | 110000 | 1.19 |  | 0 | 0 | N/A | 41 | 1 | 3/26/2025 2:23:04 PM
HW356060_BD-LM_5min-2 | Unknown | N/A | 1 | 115000 | 98800 | 1.16 |  | 0 | 0 | N/A | 42 | 1 | 3/26/2025 2:26:33 PM
HW356060_BD-LM_0min-1 | Unknown | N/A | 1 | 126000 | 100000 | 1.26 |  | 0 | 0 | N/A | 53 | 1 | 3/26/2025 2:30:01 PM
HW356060_BD-LM_0min-2 | Unknown | N/A | 1 | 116000 | 99900 | 1.16 |  | 0 | 0 | N/A | 54 | 1 | 3/26/2025 2:33:30 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 2:36:58 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 2:40:22 PM
HW356060_SR-LM_60min-1 | Unknown | N/A | 1 | 128000 | 101000 | 1.26 |  | 0 | 0 | N/A | 7 | 1 | 3/26/2025 2:43:49 PM
HW356060_SR-LM_60min-2 | Unknown | N/A | 1 | 125000 | 96500 | 1.29 |  | 0 | 0 | N/A | 8 | 1 | 3/26/2025 2:47:20 PM
HW356060_SR-LM_30min-1 | Unknown | N/A | 1 | 123000 | 102000 | 1.21 |  | 0 | 0 | N/A | 19 | 1 | 3/26/2025 2:50:48 PM
HW356060_SR-LM_30min-2 | Unknown | N/A | 1 | 133000 | 104000 | 1.28 |  | 0 | 0 | N/A | 20 | 1 | 3/26/2025 2:54:17 PM
HW356060_SR-LM_15min-1 | Unknown | N/A | 1 | 130000 | 106000 | 1.22 |  | 0 | 0 | N/A | 31 | 1 | 3/26/2025 2:57:45 PM
HW356060_SR-LM_15min-2 | Unknown | N/A | 1 | 136000 | 109000 | 1.25 |  | 0 | 0 | N/A | 32 | 1 | 3/26/2025 3:01:13 PM
HW356060_SR-LM_5min-1 | Unknown | N/A | 1 | 125000 | 104000 | 1.2 |  | 0 | 0 | N/A | 43 | 1 | 3/26/2025 3:04:42 PM
HW356060_SR-LM_5min-2 | Unknown | N/A | 1 | 122000 | 103000 | 1.19 |  | 0 | 0 | N/A | 44 | 1 | 3/26/2025 3:08:11 PM
HW356060_SR-LM_0min-1 | Unknown | N/A | 1 | 118000 | 95900 | 1.23 |  | 0 | 0 | N/A | 55 | 1 | 3/26/2025 3:11:39 PM
HW356060_SR-LM_0min-2 | Unknown | N/A | 1 | 127000 | 97300 | 1.3 |  | 0 | 0 | N/A | 56 | 1 | 3/26/2025 3:15:08 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 3:18:36 PM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 3:22:00 PM
HW356060_MU-LM_60min-1 | Unknown | N/A | 1 | 138000 | 99500 | 1.39 |  | 0 | 0 | N/A | 9 | 1 | 3/26/2025 3:25:28 PM
HW356060_MU-LM_60min-2 | Unknown | N/A | 1 | 132000 | 102000 | 1.29 |  | 0 | 0 | N/A | 10 | 1 | 3/26/2025 3:28:57 PM
HW356060_MU-LM_30min-1 | Unknown | N/A | 1 | 128000 | 99500 | 1.29 |  | 0 | 0 | N/A | 21 | 1 | 3/26/2025 3:32:27 PM
HW356060_MU-LM_30min-2 | Unknown | N/A | 1 | 131000 | 101000 | 1.3 |  | 0 | 0 | N/A | 22 | 1 | 3/26/2025 3:35:56 PM
HW356060_MU-LM_15min-1 | Unknown | N/A | 1 | 131000 | 101000 | 1.3 |  | 0 | 0 | N/A | 33 | 1 | 3/26/2025 3:39:25 PM
HW356060_MU-LM_15min-2 | Unknown | N/A | 1 | 144000 | 109000 | 1.32 |  | 0 | 0 | N/A | 34 | 1 | 3/26/2025 3:42:54 PM
HW356060_MU-LM_5min-1 | Unknown | N/A | 1 | 138000 | 103000 | 1.34 |  | 0 | 0 | N/A | 45 | 1 | 3/26/2025 3:46:23 PM
HW356060_MU-LM_5min-2 | Unknown | N/A | 1 | 134000 | 101000 | 1.33 |  | 0 | 0 | N/A | 46 | 1 | 3/26/2025 3:49:52 PM
HW356060_MU-LM_0min-1 | Unknown | N/A | 1 | 130000 | 98700 | 1.32 |  | 0 | 0 | N/A | 57 | 1 | 3/26/2025 3:53:20 PM
HW356060_MU-LM_0min-2 | Unknown | N/A | 1 | 129000 | 93400 | 1.38 |  | 0 | 0 | N/A | 58 | 1 | 3/26/2025 3:56:48 PM
Midazolam
Peak Name: Ver
Use as Internal Standard
Q1/Q3 Masses: 455.20/165.10 Da
Peak Name: Gli
Use as Internal Standard
Q1/Q3 Masses: 494.20/369.10 Da
Peak Name: Midazolam-Ver
Internal Standard: Ver
Q1/Q3 Masses: 326.20/291.10 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Error | At least 2 points are required to calculate regression.
Use Area
Peak Name: Midazolam-Gli
Internal Standard: Gli
Q1/Q3 Masses: 326.20/291.10 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Error | At least 2 points are required to calculate regression.
Use Area
Sample Name | Sample Type | Analyte Concentration (nM) | Dilution Factor | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Use Record | Record Modified | Calculated Concentration (nM) | Accuracy (%) | Vial Position | Rack Position | Acquisition Date
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 2:38:05 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 2:41:33 AM
Midazolam_HM-LM_20min-1 | Unknown | N/A | 1 | 177000 | 313000 | 0.567 |  | 0 | 0 | N/A | 61 | 1 | 3/26/2025 2:45:00 AM
Midazolam_HM-LM_20min-2 | Unknown | N/A | 1 | 188000 | 318000 | 0.591 |  | 0 | 0 | N/A | 62 | 1 | 3/26/2025 2:48:26 AM
Midazolam_HM-LM_5min-1 | Unknown | N/A | 1 | 775000 | 353000 | 2.2 |  | 0 | 0 | N/A | 73 | 1 | 3/26/2025 2:51:56 AM
Midazolam_HM-LM_5min-2 | Unknown | N/A | 1 | 732000 | 300000 | 2.44 |  | 0 | 0 | N/A | 74 | 1 | 3/26/2025 2:55:25 AM
Midazolam_HM-LM_0min-1 | Unknown | N/A | 1 | 1070000 | 305000 | 3.52 |  | 0 | 0 | N/A | 85 | 1 | 3/26/2025 2:58:54 AM
Midazolam_HM-LM_0min-2 | Unknown | N/A | 1 | 1070000 | 305000 | 3.51 |  | 0 | 0 | N/A | 86 | 1 | 3/26/2025 3:02:24 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 3:05:53 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 3:09:24 AM
Midazolam_MK-LM_20min-1 | Unknown | N/A | 1 | 69000 | 320000 | 0.216 |  | 0 | 0 | N/A | 63 | 1 | 3/26/2025 3:12:52 AM
Midazolam_MK-LM_20min-2 | Unknown | N/A | 1 | 70800 | 328000 | 0.216 |  | 0 | 0 | N/A | 64 | 1 | 3/26/2025 3:16:21 AM
Midazolam_MK-LM_5min-1 | Unknown | N/A | 1 | 624000 | 346000 | 1.8 |  | 0 | 0 | N/A | 75 | 1 | 3/26/2025 3:19:50 AM
Midazolam_MK-LM_5min-2 | Unknown | N/A | 1 | 605000 | 339000 | 1.79 |  | 0 | 0 | N/A | 76 | 1 | 3/26/2025 3:23:17 AM
Midazolam_MK-LM_0min-1 | Unknown | N/A | 1 | 1100000 | 340000 | 3.24 |  | 0 | 0 | N/A | 87 | 1 | 3/26/2025 3:26:46 AM
Midazolam_MK-LM_0min-2 | Unknown | N/A | 1 | 1080000 | 331000 | 3.26 |  | 0 | 0 | N/A | 88 | 1 | 3/26/2025 3:30:16 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 3:33:45 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 3:37:16 AM
Midazolam_BD-LM_20min-1 | Unknown | N/A | 1 | 53800 | 318000 | 0.169 |  | 0 | 0 | N/A | 65 | 1 | 3/26/2025 3:40:44 AM
Midazolam_BD-LM_20min-2 | Unknown | N/A | 1 | 60900 | 341000 | 0.179 |  | 0 | 0 | N/A | 66 | 1 | 3/26/2025 3:44:13 AM
Midazolam_BD-LM_5min-1 | Unknown | N/A | 1 | 635000 | 354000 | 1.8 |  | 0 | 0 | N/A | 77 | 1 | 3/26/2025 3:47:41 AM
Midazolam_BD-LM_5min-2 | Unknown | N/A | 1 | 613000 | 333000 | 1.84 |  | 0 | 0 | N/A | 78 | 1 | 3/26/2025 3:51:12 AM
Midazolam_BD-LM_0min-1 | Unknown | N/A | 1 | 1070000 | 343000 | 3.12 |  | 0 | 0 | N/A | 89 | 1 | 3/26/2025 3:54:40 AM
Midazolam_BD-LM_0min-2 | Unknown | N/A | 1 | 1060000 | 328000 | 3.23 |  | 0 | 0 | N/A | 90 | 1 | 3/26/2025 3:58:09 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 4:01:36 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 4:05:08 AM
Midazolam_SR-LM_20min-1 | Unknown | N/A | 1 | 157000 | 332000 | 0.473 |  | 0 | 0 | N/A | 67 | 1 | 3/26/2025 4:08:36 AM
Midazolam_SR-LM_20min-2 | Unknown | N/A | 1 | 167000 | 321000 | 0.519 |  | 0 | 0 | N/A | 68 | 1 | 3/26/2025 4:12:05 AM
Midazolam_SR-LM_5min-1 | Unknown | N/A | 1 | 702000 | 346000 | 2.03 |  | 0 | 0 | N/A | 79 | 1 | 3/26/2025 4:15:34 AM
Midazolam_SR-LM_5min-2 | Unknown | N/A | 1 | 656000 | 310000 | 2.12 |  | 0 | 0 | N/A | 80 | 1 | 3/26/2025 4:19:00 AM
Midazolam_SR-LM_0min-1 | Unknown | N/A | 1 | 1010000 | 302000 | 3.36 |  | 0 | 0 | N/A | 91 | 1 | 3/26/2025 4:22:30 AM
Midazolam_SR-LM_0min-2 | Unknown | N/A | 1 | 1040000 | 312000 | 3.32 |  | 0 | 0 | N/A | 92 | 1 | 3/26/2025 4:25:59 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 4:29:29 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 4:33:00 AM
Midazolam_MU-LM_20min-1 | Unknown | N/A | 1 | 2310 | 311000 | 0.00741 |  | 0 | 0 | N/A | 69 | 1 | 3/26/2025 4:36:29 AM
Midazolam_MU-LM_20min-2 | Unknown | N/A | 1 | 1920 | 327000 | 0.00588 |  | 0 | 0 | N/A | 70 | 1 | 3/26/2025 4:39:58 AM
Midazolam_MU-LM_5min-1 | Unknown | N/A | 1 | 233000 | 347000 | 0.672 |  | 0 | 0 | N/A | 81 | 1 | 3/26/2025 4:43:27 AM
Midazolam_MU-LM_5min-2 | Unknown | N/A | 1 | 211000 | 313000 | 0.674 |  | 0 | 0 | N/A | 82 | 1 | 3/26/2025 4:46:56 AM
Midazolam_MU-LM_0min-1 | Unknown | N/A | 1 | 899000 | 310000 | 2.9 |  | 0 | 0 | N/A | 93 | 1 | 3/26/2025 4:50:23 AM
Midazolam_MU-LM_0min-2 | Unknown | N/A | 1 | 910000 | 304000 | 2.99 |  | 0 | 0 | N/A | 94 | 1 | 3/26/2025 4:53:52 AM
7-HC
Peak Name: Ver
Use as Internal Standard
Q1/Q3 Masses: 455.20/165.10 Da
Peak Name: Gli
Use as Internal Standard
Q1/Q3 Masses: 494.20/369.10 Da
Peak Name: 7-HC-Ver
Internal Standard: Ver
Q1/Q3 Masses: 162.89/106.90 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Error | At least 2 points are required to calculate regression.
Use Area
Peak Name: 7-HC-Gli
Internal Standard: Gli
Q1/Q3 Masses: 162.89/106.90 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Error | At least 2 points are required to calculate regression.
Use Area
Sample Name | Sample Type | Analyte Concentration (nM) | Dilution Factor | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Use Record | Record Modified | Calculated Concentration (nM) | Accuracy (%) | Vial Position | Rack Position | Acquisition Date
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 4:57:22 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 5:00:52 AM
7-HC_HM-LM_20min-1 | Unknown | N/A | 1 | 20700 | 255000 | 0.081 |  | 0 | 0 | N/A | 61 | 1 | 3/26/2025 5:04:20 AM
7-HC_HM-LM_20min-2 | Unknown | N/A | 1 | 19700 | 279000 | 0.0706 |  | 0 | 0 | N/A | 62 | 1 | 3/26/2025 5:07:48 AM
7-HC_HM-LM_5min-1 | Unknown | N/A | 1 | 38200 | 275000 | 0.139 |  | 0 | 0 | N/A | 83 | 1 | 3/26/2025 5:11:17 AM
7-HC_HM-LM_5min-2 | Unknown | N/A | 1 | 35400 | 246000 | 0.144 |  | 0 | 0 | N/A | 84 | 1 | 3/26/2025 5:14:46 AM
7-HC_HM-LM_0min-1 | Unknown | N/A | 1 | 48800 | 271000 | 0.18 |  | 0 | 0 | N/A | 85 | 1 | 3/26/2025 5:18:15 AM
7-HC_HM-LM_0min-2 | Unknown | N/A | 1 | 49000 | 260000 | 0.188 |  | 0 | 0 | N/A | 86 | 1 | 3/26/2025 5:21:44 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 5:25:13 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 5:28:40 AM
7-HC_MK-LM_20min-1 | Unknown | N/A | 1 | 29500 | 279000 | 0.106 |  | 0 | 0 | N/A | 63 | 1 | 3/26/2025 5:32:08 AM
7-HC_MK-LM_20min-2 | Unknown | N/A | 1 | 33600 | 298000 | 0.113 |  | 0 | 0 | N/A | 64 | 1 | 3/26/2025 5:35:37 AM
7-HC_MK-LM_5min-1 | Unknown | N/A | 1 | 44000 | 290000 | 0.152 |  | 0 | 0 | N/A | 95 | 1 | 3/26/2025 5:39:04 AM
7-HC_MK-LM_5min-2 | Unknown | N/A | 1 | 44900 | 274000 | 0.164 |  | 0 | 0 | N/A | 96 | 1 | 3/26/2025 5:42:33 AM
7-HC_MK-LM_0min-1 | Unknown | N/A | 1 | 55300 | 274000 | 0.202 |  | 0 | 0 | N/A | 87 | 1 | 3/26/2025 5:46:02 AM
7-HC_MK-LM_0min-2 | Unknown | N/A | 1 | 52300 | 280000 | 0.186 |  | 0 | 0 | N/A | 88 | 1 | 3/26/2025 5:49:30 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 5:53:00 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 5:56:28 AM
7-HC_BD-LM_20min-1 | Unknown | N/A | 1 | 25900 | 294000 | 0.0879 |  | 0 | 0 | N/A | 65 | 1 | 3/26/2025 5:59:55 AM
7-HC_BD-LM_20min-2 | Unknown | N/A | 1 | 21600 | 285000 | 0.0756 |  | 0 | 0 | N/A | 66 | 1 | 3/26/2025 6:03:24 AM
7-HC_BD-LM_5min-1 | Unknown | N/A | 1 | 43800 | 286000 | 0.153 |  | 0 | 0 | N/A | 77 | 1 | 3/26/2025 6:06:53 AM
7-HC_BD-LM_5min-2 | Unknown | N/A | 1 | 40600 | 284000 | 0.143 |  | 0 | 0 | N/A | 78 | 1 | 3/26/2025 6:10:22 AM
7-HC_BD-LM_0min-1 | Unknown | N/A | 1 | 51300 | 274000 | 0.187 |  | 0 | 0 | N/A | 89 | 1 | 3/26/2025 6:13:50 AM
7-HC_BD-LM_0min-2 | Unknown | N/A | 1 | 48200 | 274000 | 0.176 |  | 0 | 0 | N/A | 90 | 1 | 3/26/2025 6:17:19 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 6:20:47 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 6:24:16 AM
7-HC_SR-LM_20min-1 | Unknown | N/A | 1 | 25400 | 288000 | 0.0883 |  | 0 | 0 | N/A | 67 | 1 | 3/26/2025 6:27:44 AM
7-HC_SR-LM_20min-2 | Unknown | N/A | 1 | 25000 | 284000 | 0.0881 |  | 0 | 0 | N/A | 68 | 1 | 3/26/2025 6:31:13 AM
7-HC_SR-LM_5min-1 | Unknown | N/A | 1 | 40400 | 277000 | 0.146 |  | 0 | 0 | N/A | 79 | 1 | 3/26/2025 6:34:43 AM
7-HC_SR-LM_5min-2 | Unknown | N/A | 1 | 40500 | 275000 | 0.147 |  | 0 | 0 | N/A | 80 | 1 | 3/26/2025 6:38:12 AM
7-HC_SR-LM_0min-1 | Unknown | N/A | 1 | 46400 | 260000 | 0.178 |  | 0 | 0 | N/A | 91 | 1 | 3/26/2025 6:41:41 AM
7-HC_SR-LM_0min-2 | Unknown | N/A | 1 | 47200 | 267000 | 0.177 |  | 0 | 0 | N/A | 92 | 1 | 3/26/2025 6:45:10 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 6:48:40 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 3/26/2025 6:52:08 AM
7-HC_MU-LM_20min-1 | Unknown | N/A | 1 | 8440 | 276000 | 0.0306 |  | 0 | 0 | N/A | 69 | 1 | 3/26/2025 6:55:36 AM
7-HC_MU-LM_20min-2 | Unknown | N/A | 1 | 8130 | 278000 | 0.0293 |  | 0 | 0 | N/A | 70 | 1 | 3/26/2025 6:59:05 AM
7-HC_MU-LM_5min-1 | Unknown | N/A | 1 | 30700 | 281000 | 0.109 |  | 0 | 0 | N/A | 81 | 1 | 3/26/2025 7:02:34 AM
7-HC_MU-LM_5min-2 | Unknown | N/A | 1 | 29900 | 270000 | 0.111 |  | 0 | 0 | N/A | 82 | 1 | 3/26/2025 7:06:03 AM
7-HC_MU-LM_0min-1 | Unknown | N/A | 1 | 44500 | 260000 | 0.171 |  | 0 | 0 | N/A | 93 | 1 | 3/26/2025 7:09:33 AM
7-HC_MU-LM_0min-2 | Unknown | N/A | 1 | 46700 | 263000 | 0.177 |  | 0 | 0 | N/A | 94 | 1 | 3/26/2025 7:13:02 AM

## Analytical Method
液相分析条件
Time | B% | Instrument | LC-MS/MS (API4000: LC-MS-MS-009)
0.5 | 15
1 | 95 | Phase A | A：水（含0.1%甲酸）
1.8 | 95 | Phase B | B：乙腈（含0.1%甲酸）
1.81 | 15
3 | stop | Column | Agilent ZORBAX XDB-C18, 5 μm, 2.1×50 mm (50-436)
质谱条件
名称 | Q1 | Q3 | DP | CE | CXP
HW356060 | 603.1 | 330 | 60 | 42 | 15
IS (Verapamil) | 455.2 | 165.1 | 70 | 39 | 12