## CoverPage
3D BioOptima Quality That Matters
实验标题 | 体外评估HW356009-P1在Caco-2细胞模型中的双向渗透性
实验方案编号 | 3D_PN322881
课题编号 | 3D_SN322438
课题负责人 | 杨德孝
化合物 | HW356009-P1
实验开始时间 | 2025年09月03日
实验结束时间 | 2025年09月08日
实验参与人员 | 彭珊和许洁
报告撰写 | 钱晨艳
数据质控 | 程翠
实验负责方 | 苏州圣苏新药开发有限公司 苏州市吴中区吴中大道1338号
实验委托方 | 湖北生物医药产业技术研究院有限公司 武汉市东湖高新区高新大道666号C7栋217室
保密

## Summary
Measurement of Monodirectional Papp of Controls | [5 empty] | Parameters | Type | Evaluation criteria
Compound | Direction | Recovery (%) | Papp (cm/s´10-6) | Efflux Ratio | Stability(%) | Permeability | Low | Papp(A→B)test Compound<Papp(A→B)Atenolol(0.257)
Digoxin (5 µM) | A to B | 102.7778 | 0.25686 | 50.8882 | 116.7875 |  | Medium | Papp(A→B)Atenolol(0.307) ≤ Papp(A→B)test Compound≤Papp(A→B)Minoxidil (5.47)
| B to A | 106.6719 | 13.0711 |  |  |  | High | Papp(A→B)test Compound>Papp(A→B)Minoxidil (5.47)
Minoxidil (5 µM) | A to B | 102.9296 | 5.4723 | NA | 109.7981 | Efflux transporters | Potential | ER ≥ 2
Atenolol (5 µM) | A to B | 97.9086 | 0.30651 | NA | 104.7141
Measurement of Bi-directional Papp and Efflux Ratio of HW356009-P1
Compound | Direction | Recovery (%) | Papp (cm/s´10-6) | Efflux Ratio | Stability(%)
HW356009-P1 (2 µM) | A to B | 87.9011 | 10.1451 | 1.9103 | 104.7183
| B to A | 113.5703 | 19.38
(1 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
(1 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
(10 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
(10 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
(10 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
(10 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
(10 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
(10 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
(10 µM) | A to B | #N/A | #N/A | #N/A | #N/A
| B to A | #N/A | #N/A
Conclusion
HW356009-P1 was a high permeability compound and was not a substrate of efflux transporters.

## Processed
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
Atenolol | A to B | B | 120 | Ate_A-B_B1 | B-120-1 | 1 | 1800 | 633000 | 0.00285 | 0.002675 | 0.31823 | 0.30651 | 99.5617 | 97.9086 | NA
|  |  |  | Ate_A-B_B2 | B-120-2 | 1 | 1610 | 643000 | 0.0025 |  | 0.29479 |  | 96.2554
|  | A | 120 | Ate_A-B_A1 | A-120-1 | 10 | 303000 | 623000 | 0.486 | 0.4655 | NA | NA | NA | NA
|  |  |  | Ate_A-B_A2 | A-120-2 | 10 | 289000 | 650000 | 0.445
| Donor TA0 | NA | 0 | Ate_TA-1 | TA0-1 | 10 | 314000 | 641000 | 0.49 | 0.477 | NA | NA | NA | NA
|  |  |  | Ate_TA-2 | TA0-2 | 10 | 292000 | 629000 | 0.464
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
Atenolol | Stability |  | 120 | Ate_T120-1 | T120-1 | 10 | 307000 | 632000 | 0.486 | 0.5065 | 102.5316 | 104.7141
|  |  |  | Ate_T120-2 | T120-2 | 10 | 329000 | 625000 | 0.527 |  | 106.8966
|  |  | 0 | Ate_T0-1 | T0-1 | 10 | 302000 | 637000 | 0.474 | 0.4835 | NA | NA
|  |  |  | Ate_T0-2 | T0-2 | 10 | 308000 | 625000 | 0.493
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
Minoxidil | A to B | B | 120 | Min_A-B_B1 | B-120-1 | 1 | 33800 | 305000 | 0.111 | 0.11 | 5.4225 | 5.4723 | 99.2991 | 102.9296 | NA
|  |  |  | Min_A-B_B2 | B-120-2 | 1 | 32700 | 300000 | 0.109 |  | 5.522 |  | 106.5602
|  | A | 120 | Min_A-B_A1 | A-120-1 | 10 | 318000 | 305000 | 1.04 | 1.06 | NA | NA | NA | NA
|  |  |  | Min_A-B_A2 | A-120-2 | 10 | 323000 | 300000 | 1.08
| Donor TA0 | NA | 0 | Min_TA-1 | TA0-1 | 10 | 355000 | 316000 | 1.12 | 1.1 | NA | NA | NA | NA
|  |  |  | Min_TA-2 | TA0-2 | 10 | 317000 | 293000 | 1.08
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
Minoxidil | Stability |  | 120 | Min_T120-1 | T120-1 | 10 | 367000 | 277000 | 1.32 | 1.245 | 117.8571 | 109.7981
|  |  |  | Min_T120-2 | T120-2 | 10 | 351000 | 301000 | 1.17 |  | 101.7391
|  |  | 0 | Min_T0-1 | T0-1 | 10 | 366000 | 327000 | 1.12 | 1.135 | NA | NA
|  |  |  | Min_T0-2 | T0-2 | 10 | 364000 | 316000 | 1.15
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
Digoxin | A to B | B | 120 | Dig_A-B_B1 | B-120-1 | 1 | 1190 | 1390000 | 0.000853 | 0.000852 | 0.25928 | 0.25686 | 101.9747 | 102.7778 | 50.8882
|  |  |  | Dig_A-B_B2 | B-120-2 | 1 | 1300 | 1520000 | 0.000851 |  | 0.25443 |  | 103.581
|  | A | 120 | Dig_A-B_A1 | A-120-1 | 10 | 281000 | 1530000 | 0.183 | 0.186 | NA | NA | NA | NA
|  |  |  | Dig_A-B_A2 | A-120-2 | 10 | 291000 | 1540000 | 0.189
| Donor TA0 | NA | 0 | Dig_TA-1 | TA0-1 | 10 | 281000 | 1560000 | 0.18 | 0.1815 | NA | NA | NA | NA
|  |  |  | Dig_TA-2 | TA0-2 | 10 | 279000 | 1520000 | 0.183
| B to A | A | 120 | Dig_B-A_A1 | A-120-1 | 1 | 415000 | 1560000 | 0.266 | 0.273 | 12.4392 | 13.0711 | 105.6068 | 106.6719
|  |  |  | Dig_B-A_A2 | A-120-2 | 1 | 439000 | 1570000 | 0.28 |  | 13.7029 |  | 107.737
|  | B | 120 | Dig_B-A_B1 | B-120-1 | 10 | 290000 | 1560000 | 0.186 | 0.1835 | NA | NA | NA | NA
|  |  |  | Dig_B-A_B2 | B-120-2 | 10 | 267000 | 1480000 | 0.181
| Donor TB0 | NA | 0 | Dig_TB-1 | TB0-1 | 10 | 287000 | 1590000 | 0.18 | 0.176 | NA | NA | NA | NA
|  |  |  | Dig_TB-2 | TB0-2 | 10 | 264000 | 1530000 | 0.172
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
Digoxin | Stability |  | 120 | Dig_T120-1 | T120-1 | 10 | 315000 | 1450000 | 0.216 | 0.216 | 114.8936 | 116.7875
|  |  |  | Dig_T120-2 | T120-2 | 10 | 317000 | 1470000 | 0.216 |  | 118.6813
|  |  | 0 | Dig_T0-1 | T0-1 | 10 | 285000 | 1520000 | 0.188 | 0.185 | NA | NA
|  |  |  | Dig_T0-2 | T0-2 | 10 | 271000 | 1490000 | 0.182
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
HW356009-P1 (2 µM) | A to B | B | 120 | HW356009-P1_A-B_B1 | B-120-1 | 1 | 52500 | 414000 | 0.127 | 0.1175 | 10.9256 | 10.1451 | 88.7657 | 87.9011 | 1.9103
|  |  |  | HW356009-P1_A-B_B2 | B-120-2 | 1 | 50400 | 465000 | 0.108 |  | 9.3646 |  | 87.0365
|  | A | 120 | HW356009-P1_A-B_A1 | A-120-1 | 10 | 234000 | 487000 | 0.482 | 0.4805 | NA | NA | NA | NA
|  |  |  | HW356009-P1_A-B_A2 | A-120-2 | 10 | 237000 | 495000 | 0.479
| Donor TA0 | NA | 0 | HW356009-P1_TA-1 | TA0-1 | 10 | 326000 | 513000 | 0.636 | 0.6335 | NA | NA | NA | NA
|  |  |  | HW356009-P1_TA-2 | TA0-2 | 10 | 332000 | 527000 | 0.631
| B to A | A | 120 | HW356009-P1_B-A_A1 | A-120-1 | 1 | 693000 | 453000 | 1.53 | 1.535 | 19.7527 | 19.38 | 119.5611 | 113.5703
|  |  |  | HW356009-P1_B-A_A2 | A-120-2 | 1 | 736000 | 478000 | 1.54 |  | 19.0073 |  | 107.5795
|  | B | 120 | HW356009-P1_B-A_B1 | B-120-1 | 10 | 375000 | 496000 | 0.756 | 0.733 | NA | NA | NA | NA
|  |  |  | HW356009-P1_B-A_B2 | B-120-2 | 10 | 358000 | 504000 | 0.71
| Donor TB0 | NA | 0 | HW356009-P1_TB-1 | TB0-1 | 10 | 342000 | 525000 | 0.652 | 0.667 | NA | NA | NA | NA
|  |  |  | HW356009-P1_TB-2 | TB0-2 | 10 | 350000 | 513000 | 0.682
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
HW356009-P1 (2 µM) | Stability |  | 120 | HW356009-P1_T120-1 | T120-1 | 10 | 349000 | 504000 | 0.693 | 0.725 | 96.7877 | 104.7183
|  |  |  | HW356009-P1_T120-2 | T120-2 | 10 | 399000 | 527000 | 0.757 |  | 112.6488
|  |  | 0 | HW356009-P1_T0-1 | T0-1 | 10 | 382000 | 534000 | 0.716 | 0.694 | NA | NA
|  |  |  | HW356009-P1_T0-2 | T0-2 | 10 | 380000 | 566000 | 0.672
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(1 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(1 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(1 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(1 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(10 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(10 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(10 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(10 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(10 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(10 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(10 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(10 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(10 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(10 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(10 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(10 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Direction | Sampling Side | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Papp (10-6 cm/s) | Mean Papp (10-6 cm/s) | Recovery (%) | Mean Recovery (%) | Efflux Ratio
(10 µM) | A to B | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TA0 | NA | 0 |  | TA0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TA0-2 | #N/A | #N/A | #N/A | #N/A
| B to A | A | 120 |  | A-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | A-120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A |  | #N/A
|  | B | 120 |  | B-120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | B-120-2 | #N/A | #N/A | #N/A | #N/A
| Donor TB0 | NA | 0 |  | TB0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA | NA | NA
[5 empty] | TB0-2 | #N/A | #N/A | #N/A | #N/A
Compound | Sample name |  | Time Point (min) | Sample Name | Sample | Dilution Factor | Analyte Peak Area | IS Peak Area | Area Ratio | Mean Area Ratio | Remaining after 120 min Incubation (% ) | Mean (%)
(10 µM) | Stability |  | 120 |  | T120-1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[5 empty] | T120-2 | #N/A | #N/A | #N/A | #N/A |  | #N/A
|  |  | 0 |  | T0-1 | #N/A | #N/A | #N/A | #N/A | #N/A | NA | NA
[5 empty] | T0-2 | #N/A | #N/A | #N/A | #N/A

## Layout
Layout For Plate *08-08-2025-P2
HW356009-P1 A-B (2 µM) | HW356009-P1 A-B (2 µM) | HW356009-P1 B-A (2 µM) | HW356009-P1 B-A (2 µM) | Atenolol (5 µM) A-B | Atenolol (5 µM) A-B
NA | NA | NA | NA | Digoxin A-B (5 µM) | Digoxin A-B (5 µM)
NA | NA | NA | NA | Digoxin B-A (5 µM) | Digoxin B-A (5 µM)
NA | NA | NA | NA | Minoxidil (5 µM) A-B | Minoxidil (5 µM) A-B

## TEER
Before | (Plate ID: 08-08-2025-P2)
TEER (Ω·cm2) Before the Drug Transport Experiment
825 | 726 | 693 | 660 | 627 | 792
NA | NA | NA | NA | 660 | 693
NA | NA | NA | NA | 693 | 660
NA | NA | NA | NA | 726 | 759
After | (Plate ID: 08-08-2025-P2)
TEER (Ω·cm2) After the Drug Transport Experiment
627 | 528 | 528 | 495 | 462 | 429
NA | NA | NA | NA | 462 | 462
NA | NA | NA | NA | 528 | 495
NA | NA | NA | NA | 528 | 561
TEER should be ≥ 230 ohms•cm2

## Assay Outline
Cell Culture
Cell Source |  |  |  | CAS
Cell Passage Number |  |  |  | 40 | 30~32
Cell Seeding Density |  |  |  | 2.4 × 105 cells/cm2 | 1.7 × 105 cells/cm2
Culture Time on the Membrane |  |  |  | 28 days | 19 days
Criteria for TEER Value |  |  |  | > 230 Ω·cm2 | >150 Ω·cm2
Assay Design For HW356009-P1 Bi-directional Papp and Efflux Ratio Measurement
Drug Transport Direction |  |  |  | A→B/B→A | A→B/B→A
Test Compound Concentration |  |  |  | 2 µM | 1 µM, 3 µM, 10 µM
Incubation Time |  |  |  | 120 min | 120 min
Replicate |  |  |  | n = 2 | 2/plate, 2 plates
Low Permeability Marker |  |  |  | Atenolol (5 µM) | Antenolol (10 µM)
High Permeability Marker |  |  |  | Minoxidil (5 µM) | Propranolol (10 µM)
P-gp Expression Marker |  |  |  | Digoxin (5 µM) | Digoxin (10 µM)
Donor Buffer |  |  |  | HBSS+1%BSA | HBSS containing 0.002% Tween-80
Receiver Buffer |  |  |  | HBSS+1%BSA | HBSS containing 0.002% Tween-80
Compound Name |  |  |  | Lot#
HW356009-P1 | HW033061-P2 | HW033061-P2 | HW033061-P2 | HWH817-YBC-035-4-54-2

## Method
液相分析条件
液相条件
Time | B% | Instrument | LC-MS/MS (Triple Quad 5500: LC-MS-MS-013)
0.5 | 10
1 | 95 | Phase A | A：水（含0.1%甲酸）
1.6 | 95 | Phase B | B：乙腈（含0.1%甲酸）
1.61 | 10
3 | stop | Column | Agilent ZORBAX XDB-C18 (5.0 µm, 50×2.1 mm)（50-481）
质谱条件
名称 | Q1 | Q3 | DP | EP | CE | CXP
HW356009-P1 | 602.3 | 502.1 | -160 | -10 | -23 | -16
Glibenclamide | 492.2 | 367.1 | -60 | -10 | -23 | -30

## Article(s) Raw Data
Analyte | Sample Name | Sample Type | Analyte Concentration (nM) | Dilution Factor | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Use Record | Record Modified | Calculated Concentration (nM) | Accuracy (%) | Vial Position | Plate Position | Acquisition Date | Analyte Retention Time (min) | IS Retention Time (min) | Analyte Peak Name | IS Peak Name
HW356009-P1 (2 µM) | Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 6:49:58 PM | 0 | 0 | HW356009-P1 | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 6:53:31 PM | 0 | 0 | HW356009-P1 | GLBN
| HW356009-P1_A-B_B1 | Unknown | N/A | 1 | 52500 | 414000 | 0.127 |  | 0 | 0 | N/A | 53 | 3 | 9/4/2025 6:57:01 PM | 1.68 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_A-B_B2 | Unknown | N/A | 1 | 50400 | 465000 | 0.108 |  | 0 | 0 | N/A | 54 | 3 | 9/4/2025 7:00:38 PM | 1.67 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_B-A_A1 | Unknown | N/A | 1 | 693000 | 453000 | 1.53 |  | 0 | 0 | N/A | 51 | 3 | 9/4/2025 7:04:14 PM | 1.68 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_B-A_A2 | Unknown | N/A | 1 | 736000 | 478000 | 1.54 |  | 0 | 0 | N/A | 52 | 3 | 9/4/2025 7:07:47 PM | 1.67 | 1.65 | HW356009-P1 | GLBN
| HW356009-P1_A-B_A1 | Unknown | N/A | 10 | 234000 | 487000 | 0.482 |  | 0 | 0 | N/A | 49 | 3 | 9/4/2025 7:11:17 PM | 1.67 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_A-B_A2 | Unknown | N/A | 10 | 237000 | 495000 | 0.479 |  | 0 | 0 | N/A | 50 | 3 | 9/4/2025 7:14:53 PM | 1.66 | 1.64 | HW356009-P1 | GLBN
| HW356009-P1_B-A_B1 | Unknown | N/A | 10 | 375000 | 496000 | 0.756 |  | 0 | 0 | N/A | 55 | 3 | 9/4/2025 7:18:26 PM | 1.68 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_B-A_B2 | Unknown | N/A | 10 | 358000 | 504000 | 0.71 |  | 0 | 0 | N/A | 56 | 3 | 9/4/2025 7:21:58 PM | 1.68 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_TA-1 | Unknown | N/A | 10 | 326000 | 513000 | 0.636 |  | 0 | 0 | N/A | 5 | 3 | 9/4/2025 7:25:35 PM | 1.67 | 1.65 | HW356009-P1 | GLBN
| HW356009-P1_TA-2 | Unknown | N/A | 10 | 332000 | 527000 | 0.631 |  | 0 | 0 | N/A | 6 | 3 | 9/4/2025 7:29:11 PM | 1.67 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_TB-1 | Unknown | N/A | 10 | 342000 | 525000 | 0.652 |  | 0 | 0 | N/A | 17 | 3 | 9/4/2025 7:32:44 PM | 1.67 | 1.65 | HW356009-P1 | GLBN
| HW356009-P1_TB-2 | Unknown | N/A | 10 | 350000 | 513000 | 0.682 |  | 0 | 0 | N/A | 18 | 3 | 9/4/2025 7:36:18 PM | 1.67 | 1.65 | HW356009-P1 | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 7:39:52 PM | 0 | 0 | HW356009-P1 | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 7:43:25 PM | 0 | 0 | HW356009-P1 | GLBN
| HW356009-P1_T120-1 | Unknown | N/A | 10 | 349000 | 504000 | 0.693 |  | 0 | 0 | N/A | 43 | 3 | 9/4/2025 7:46:58 PM | 1.67 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_T120-2 | Unknown | N/A | 10 | 399000 | 527000 | 0.757 |  | 0 | 0 | N/A | 44 | 3 | 9/4/2025 7:50:32 PM | 1.68 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_T0-1 | Unknown | N/A | 10 | 382000 | 534000 | 0.716 |  | 0 | 0 | N/A | 31 | 3 | 9/4/2025 7:54:08 PM | 1.67 | 1.66 | HW356009-P1 | GLBN
| HW356009-P1_T0-2 | Unknown | N/A | 10 | 380000 | 566000 | 0.672 |  | 0 | 0 | N/A | 32 | 3 | 9/4/2025 7:57:44 PM | 1.68 | 1.66 | HW356009-P1 | GLBN
(1 µM)
(1 µM)
(10 µM)
(10 µM)
(10 µM)
(10 µM)
(10 µM)
(10 µM)
(10 µM)

## Controls raw data
Analyte | Sample Name | Sample Type | Analyte Concentration (nM) | Dilution Factor | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Use Record | Record Modified | Calculated Concentration (nM) | Accuracy (%) | Vial Position | Plate Position | Acquisition Date | Analyte Retention Time (min) | IS Retention Time (min) | Analyte Peak Name | IS Peak Name
Atenolol | Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 5:10:23 PM | 0 | 0 | Atenolol-Gli | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 5:13:55 PM | 0 | 0 | Atenolol-Gli | GLBN
| Ate_A-B_B1 | Unknown | N/A | 1 | 1800 | 633000 | 0.00285 |  | 0 | 0 | N/A | 59 | 3 | 9/4/2025 5:17:28 PM | 1.39 | 1.6 | Atenolol-Gli | GLBN
| Ate_A-B_B2 | Unknown | N/A | 1 | 1610 | 643000 | 0.0025 |  | 0 | 0 | N/A | 60 | 3 | 9/4/2025 5:20:58 PM | 1.4 | 1.6 | Atenolol-Gli | GLBN
| Ate_A-B_A1 | Unknown | N/A | 10 | 303000 | 623000 | 0.486 |  | 0 | 0 | N/A | 57 | 3 | 9/4/2025 5:24:34 PM | 1.4 | 1.6 | Atenolol-Gli | GLBN
| Ate_A-B_A2 | Unknown | N/A | 10 | 289000 | 650000 | 0.445 |  | 0 | 0 | N/A | 58 | 3 | 9/4/2025 5:28:07 PM | 1.4 | 1.6 | Atenolol-Gli | GLBN
| Ate_TA-1 | Unknown | N/A | 10 | 314000 | 641000 | 0.49 |  | 0 | 0 | N/A | 1 | 3 | 9/4/2025 5:31:42 PM | 1.4 | 1.6 | Atenolol-Gli | GLBN
| Ate_TA-2 | Unknown | N/A | 10 | 292000 | 629000 | 0.464 |  | 0 | 0 | N/A | 2 | 3 | 9/4/2025 5:35:17 PM | 1.4 | 1.6 | Atenolol-Gli | GLBN
| Wash | Unknown | N/A | 1 | 5560 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 5:38:50 PM | 1.39 | 0 | Atenolol-Gli | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 5:42:23 PM | 0 | 0 | Atenolol-Gli | GLBN
| Ate_T120-1 | Unknown | N/A | 10 | 307000 | 632000 | 0.486 |  | 0 | 0 | N/A | 37 | 3 | 9/4/2025 5:45:56 PM | 1.4 | 1.6 | Atenolol-Gli | GLBN
| Ate_T120-2 | Unknown | N/A | 10 | 329000 | 625000 | 0.527 |  | 0 | 0 | N/A | 38 | 3 | 9/4/2025 5:49:31 PM | 1.39 | 1.59 | Atenolol-Gli | GLBN
| Ate_T0-1 | Unknown | N/A | 10 | 302000 | 637000 | 0.474 |  | 0 | 0 | N/A | 25 | 3 | 9/4/2025 5:53:07 PM | 1.4 | 1.6 | Atenolol-Gli | GLBN
| Ate_T0-2 | Unknown | N/A | 10 | 308000 | 625000 | 0.493 |  | 0 | 0 | N/A | 26 | 3 | 9/4/2025 5:56:42 PM | 1.39 | 1.6 | Atenolol-Gli | GLBN
Minoxidil | Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 6:00:16 PM | 0 | 0 | Minoxidil-Gli | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 6:03:50 PM | 0 | 0 | Minoxidil-Gli | GLBN
| Min_A-B_B1 | Unknown | N/A | 1 | 33800 | 305000 | 0.111 |  | 0 | 0 | N/A | 95 | 3 | 9/4/2025 6:07:21 PM | 1.59 | 1.85 | Minoxidil-Gli | GLBN
| Min_A-B_B2 | Unknown | N/A | 1 | 32700 | 300000 | 0.109 |  | 0 | 0 | N/A | 96 | 3 | 9/4/2025 6:10:54 PM | 1.6 | 1.85 | Minoxidil-Gli | GLBN
| Min_A-B_A1 | Unknown | N/A | 10 | 318000 | 305000 | 1.04 |  | 0 | 0 | N/A | 93 | 3 | 9/4/2025 6:14:26 PM | 1.6 | 1.85 | Minoxidil-Gli | GLBN
| Min_A-B_A2 | Unknown | N/A | 10 | 323000 | 300000 | 1.08 |  | 0 | 0 | N/A | 94 | 3 | 9/4/2025 6:17:56 PM | 1.6 | 1.85 | Minoxidil-Gli | GLBN
| Min_TA-1 | Unknown | N/A | 10 | 355000 | 316000 | 1.12 |  | 0 | 0 | N/A | 13 | 3 | 9/4/2025 6:21:28 PM | 1.6 | 1.85 | Minoxidil-Gli | GLBN
| Min_TA-2 | Unknown | N/A | 10 | 317000 | 293000 | 1.08 |  | 0 | 0 | N/A | 14 | 3 | 9/4/2025 6:25:04 PM | 1.59 | 1.85 | Minoxidil-Gli | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 6:28:37 PM | 0 | 0 | Minoxidil-Gli | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 6:32:11 PM | 0 | 0 | Minoxidil-Gli | GLBN
| Min_T120-1 | Unknown | N/A | 10 | 367000 | 277000 | 1.32 |  | 0 | 0 | N/A | 39 | 3 | 9/4/2025 6:35:45 PM | 1.59 | 1.85 | Minoxidil-Gli | GLBN
| Min_T120-2 | Unknown | N/A | 10 | 351000 | 301000 | 1.17 |  | 0 | 0 | N/A | 40 | 3 | 9/4/2025 6:39:17 PM | 1.59 | 1.84 | Minoxidil-Gli | GLBN
| Min_T0-1 | Unknown | N/A | 10 | 366000 | 327000 | 1.12 |  | 0 | 0 | N/A | 27 | 3 | 9/4/2025 6:42:51 PM | 1.6 | 1.85 | Minoxidil-Gli | GLBN
| Min_T0-2 | Unknown | N/A | 10 | 364000 | 316000 | 1.15 |  | 0 | 0 | N/A | 28 | 3 | 9/4/2025 6:46:24 PM | 1.59 | 1.85 | Minoxidil-Gli | GLBN
Digoxin | Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 3:58:37 PM | 0 | 0 | Digoxin-Gli | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 4:02:12 PM | 0 | 0 | Digoxin-Gli | GLBN
| Dig_A-B_B1 | Unknown | N/A | 1 | 1190 | 1390000 | 0.000853 |  | 0 | 0 | N/A | 81 | 3 | 9/4/2025 4:05:46 PM | 1.64 | 1.84 | Digoxin-Gli | GLBN
| Dig_A-B_B2 | Unknown | N/A | 1 | 1300 | 1520000 | 0.000851 |  | 0 | 0 | N/A | 82 | 3 | 9/4/2025 4:09:20 PM | 1.64 | 1.84 | Digoxin-Gli | GLBN
| Dig_B-A_A1 | Unknown | N/A | 1 | 415000 | 1560000 | 0.266 |  | 0 | 0 | N/A | 71 | 3 | 9/4/2025 4:12:54 PM | 1.64 | 1.84 | Digoxin-Gli | GLBN
| Dig_B-A_A2 | Unknown | N/A | 1 | 439000 | 1570000 | 0.28 |  | 0 | 0 | N/A | 72 | 3 | 9/4/2025 4:16:30 PM | 1.63 | 1.84 | Digoxin-Gli | GLBN
| Dig_A-B_A1 | Unknown | N/A | 10 | 281000 | 1530000 | 0.183 |  | 0 | 0 | N/A | 69 | 3 | 9/4/2025 4:20:05 PM | 1.63 | 1.84 | Digoxin-Gli | GLBN
| Dig_A-B_A2 | Unknown | N/A | 10 | 291000 | 1540000 | 0.189 |  | 0 | 0 | N/A | 70 | 3 | 9/4/2025 4:23:41 PM | 1.65 | 1.85 | Digoxin-Gli | GLBN
| Dig_B-A_B1 | Unknown | N/A | 10 | 290000 | 1560000 | 0.186 |  | 0 | 0 | N/A | 83 | 3 | 9/4/2025 4:27:15 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN
| Dig_B-A_B2 | Unknown | N/A | 10 | 267000 | 1480000 | 0.181 |  | 0 | 0 | N/A | 84 | 3 | 9/4/2025 4:30:50 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN
| Dig_TA-1 | Unknown | N/A | 10 | 281000 | 1560000 | 0.18 |  | 0 | 0 | N/A | 3 | 3 | 9/4/2025 4:34:25 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN
| Dig_TA-2 | Unknown | N/A | 10 | 279000 | 1520000 | 0.183 |  | 0 | 0 | N/A | 4 | 3 | 9/4/2025 4:38:00 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN
| Dig_TB-1 | Unknown | N/A | 10 | 287000 | 1590000 | 0.18 |  | 0 | 0 | N/A | 15 | 3 | 9/4/2025 4:41:37 PM | 1.64 | 1.84 | Digoxin-Gli | GLBN
| Dig_TB-2 | Unknown | N/A | 10 | 264000 | 1530000 | 0.172 |  | 0 | 0 | N/A | 16 | 3 | 9/4/2025 4:45:12 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 4:48:47 PM | 0 | 0 | Digoxin-Gli | GLBN
| Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 3 | 9/4/2025 4:52:22 PM | 0 | 0 | Digoxin-Gli | GLBN
| Dig_T120-1 | Unknown | N/A | 10 | 315000 | 1450000 | 0.216 |  | 0 | 0 | N/A | 41 | 3 | 9/4/2025 4:55:58 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN
| Dig_T120-2 | Unknown | N/A | 10 | 317000 | 1470000 | 0.216 |  | 0 | 0 | N/A | 42 | 3 | 9/4/2025 4:59:34 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN
| Dig_T0-1 | Unknown | N/A | 10 | 285000 | 1520000 | 0.188 |  | 0 | 0 | N/A | 29 | 3 | 9/4/2025 5:03:12 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN
| Dig_T0-2 | Unknown | N/A | 10 | 271000 | 1490000 | 0.182 |  | 0 | 0 | N/A | 30 | 3 | 9/4/2025 5:06:46 PM | 1.64 | 1.85 | Digoxin-Gli | GLBN