## CoverPage
3D BioOptima Quality That Matters
实验报告
实验标题 | HW356009-P1在PBS（pH 7.4）、FaSSGF（pH 1.6）和FaSSIF（pH 6.5）中的热力学溶解度测定
实验方案编号 | 3D_PN322880
课题编号 | 3D_SN322438
课题负责人 | 杨德孝
化合物 | HW356009-P1
实验开始时间 | 2025 年09月03日
实验结束时间 | 2025 年09月05日
实验参与人员 | 韩晓逸和蔡鑫鑫
报告撰写 | 卜乐亮
数据质控 | 程翠
实验负责方 | 苏州圣苏新药开发有限公司 中国苏州市吴中区吴中大道1338号
实验委托方 | 湖北生物医药产业技术研究院有限公司 武汉市东湖高新区高新大道666号C7栋217室

## Summary
试剂信息
试剂 | 品牌 | 货号 | 批号
HW356009-P1 | 湖北生物医药产业技术研究院有限公司 | NA | HWH817-YBC-035-4-54-2
汇总
受试化合物 | PH | 溶解度 (μg/mL)
HW356009-P1 | PBS (PH=7.4) | 4.035
| FaSSIF (PH=6.5) | 4.775
| FaSSGF (PH=1.6) | 4.815

## Solubility Determination
LC-MS
溶解度测定
受试化合物 | PH | 计算浓度 (ng/mL) | 浓度 (μg/mL)
HW356009-P1_Solubility | PBS (PH=7.4) | 4035 | 4.035
| FaSSIF (PH=6.5) | 4775 | 4.775
| FaSSGF (PH=1.6) | 4815 | 4.815

## Calculation
HW356009-P1
Calibration Curve and QC-HW356009-P1
Sample Name | Specified Conc (ng/mL) | Response | ISTD Response | Response Ratio | Conc. (ng/mL) | % RE
HW356009-P1_Solubility_10ng/mL | 10 | 220000 | 2300000 | 0.0956 | 9.85 | -1.5
HW356009-P1_Solubility_20ng/mL | 20 | 445000 | 2320000 | 0.192 | 20.1 | 0.5
HW356009-P1_Solubility_50ng/mL | 50 | 1120000 | 2290000 | 0.49 | 51.9 | 3.8
HW356009-P1_Solubility_100ng/mL | 100 | 2090000 | 2250000 | 0.928 | 98.6 | -1.4
HW356009-P1_Solubility_200ng/mL | 200 | 4730000 | 2250000 | 2.1 | 224 | 12
HW356009-P1_Solubility_500ng/mL | 500 | 11500000 | 2290000 | 5.03 | 536 | 7.3
HW356009-P1_Solubility_1000ng/mL | 1000 | 20300000 | 2290000 | 8.87 | 945 | -5.5
HW356009-P1_Solubility_2000ng/mL | 2000 | 34700000 | 2180000 | 15.9 | 1690 | -15.3
PBS (PH=7.4)
Sample Name | Dil Factor | Response | ISTD Response | Response Ratio | Conc. (ng/mL) | Mean Conc. (ng/mL)
HW356009-P1_PBS_2mg/mL_DL50-1 | 50 | 1800000 | 2310000 | 0.778 | 4130 | 4035
HW356009-P1_PBS_2mg/mL_DL50-2 | 50 | 1720000 | 2320000 | 0.742 | 3940
FaSSIF (PH=6.5)
Sample Name | Dil Factor | Response | ISTD Response | Response Ratio | Conc. (ng/mL) | Mean Conc. (ng/mL)
HW356009-P1_FaSSIF_2mg/mL_DL50-1 | 50 | 2170000 | 2360000 | 0.917 | 4870 | 4775
HW356009-P1_FaSSIF_2mg/mL_DL50-2 | 50 | 2100000 | 2380000 | 0.882 | 4680
FaSSGF (PH=1.6)
Sample Name | Dil Factor | Response | ISTD Response | Response Ratio | Conc. (ng/mL) | Mean Conc. (ng/mL)
HW356009-P1_FaSSGF_2mg/mL_DL50-1 | 50 | 2140000 | 2300000 | 0.932 | 4950 | 4815
HW356009-P1_FaSSGF_2mg/mL_DL50-2 | 50 | 2040000 | 2310000 | 0.88 | 4680

## Raw Data
HW356009-P1
Peak Name: GLBN
Use as Internal Standard
Q1/Q3 Masses: 494.20/169.10 Da
Peak Name: VERA
Use as Internal Standard
Q1/Q3 Masses: 455.20/165.10 Da
Peak Name: HW356009-P1-Ver
Internal Standard: VERA
Q1/Q3 Masses: 604.30/411.10 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Intercept | 0.0032
Slope | 0.00938
Correlation coefficient | 0.9955
Use Area
Peak Name: HW356009-P1-Gli
Internal Standard: GLBN
Q1/Q3 Masses: 604.30/411.10 Da
Fit | Linear | Weighting | 1 / (x * x) | Iterate | No
Error | Can't calculate regression because the system of equations is degenerate.
Use Area
Sample Name | Sample Type | Analyte Concentration (ng/mL) | Dilution Factor | Analyte Peak Area (counts) | IS Peak Area (counts) | Area Ratio | Use Record | Record Modified | Calculated Concentration (ng/mL) | Accuracy (%) | Vial Position | Plate Position | Acquisition Date
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 9/5/2025 4:29:18 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 9/5/2025 4:32:43 AM
HW356009-P1_Solubility_10ng/mL | Standard | 10 | 1 | 220000 | 2300000 | 0.0956 | 1 | 0 | 9.85 | 98.5 | 31 | 5 | 9/5/2025 4:36:05 AM
HW356009-P1_Solubility_20ng/mL | Standard | 20 | 1 | 445000 | 2320000 | 0.192 | 1 | 0 | 20.1 | 100.5 | 32 | 5 | 9/5/2025 4:39:27 AM
HW356009-P1_Solubility_50ng/mL | Standard | 50 | 1 | 1120000 | 2290000 | 0.49 | 1 | 0 | 51.9 | 103.8 | 33 | 5 | 9/5/2025 4:42:50 AM
HW356009-P1_Solubility_100ng/mL | Standard | 100 | 1 | 2090000 | 2250000 | 0.928 | 1 | 0 | 98.6 | 98.6 | 34 | 5 | 9/5/2025 4:46:13 AM
HW356009-P1_Solubility_200ng/mL | Standard | 200 | 1 | 4730000 | 2250000 | 2.1 | 1 | 0 | 224 | 112 | 35 | 5 | 9/5/2025 4:49:33 AM
HW356009-P1_Solubility_500ng/mL | Standard | 500 | 1 | 11500000 | 2290000 | 5.03 | 1 | 0 | 536 | 107.3 | 36 | 5 | 9/5/2025 4:52:57 AM
HW356009-P1_Solubility_1000ng/mL | Standard | 1000 | 1 | 20300000 | 2290000 | 8.87 | 1 | 0 | 945 | 94.5 | 57 | 5 | 9/5/2025 4:56:19 AM
HW356009-P1_Solubility_2000ng/mL | Standard | 2000 | 1 | 34700000 | 2180000 | 15.9 | 1 | 0 | 1690 | 84.7 | 58 | 5 | 9/5/2025 4:59:39 AM
Wash | Unknown | N/A | 1 | 16000 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 9/5/2025 5:03:03 AM
Wash | Unknown | N/A | 1 | 3390 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 9/5/2025 5:06:25 AM
HW356009-P1_PBS_2mg/mL_DL50-1 | Unknown | N/A | 50 | 1800000 | 2310000 | 0.778 |  | 0 | 4130 | N/A | 91 | 6 | 9/5/2025 5:09:47 AM
HW356009-P1_PBS_2mg/mL_DL50-2 | Unknown | N/A | 50 | 1720000 | 2320000 | 0.742 |  | 0 | 3940 | N/A | 92 | 6 | 9/5/2025 5:13:11 AM
Wash | Unknown | N/A | 1 | 1350 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 9/5/2025 5:16:34 AM
Wash | Unknown | N/A | 1 | 465 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 9/5/2025 5:19:56 AM
HW356009-P1_FaSSIF_2mg/mL_DL50-1 | Unknown | N/A | 50 | 2170000 | 2360000 | 0.917 |  | 0 | 4870 | N/A | 93 | 6 | 9/5/2025 5:23:19 AM
HW356009-P1_FaSSIF_2mg/mL_DL50-2 | Unknown | N/A | 50 | 2100000 | 2380000 | 0.882 |  | 0 | 4680 | N/A | 94 | 6 | 9/5/2025 5:26:42 AM
Wash | Unknown | N/A | 1 | 975 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 9/5/2025 5:30:03 AM
Wash | Unknown | N/A | 1 | 0 | 0 | #DIV/0! |  | 0 | #DIV/0! | N/A | 20001 | 1 | 9/5/2025 5:33:28 AM
HW356009-P1_FaSSGF_2mg/mL_DL50-1 | Unknown | N/A | 50 | 2140000 | 2300000 | 0.932 |  | 0 | 4950 | N/A | 95 | 6 | 9/5/2025 5:36:50 AM
HW356009-P1_FaSSGF_2mg/mL_DL50-2 | Unknown | N/A | 50 | 2040000 | 2310000 | 0.88 |  | 0 | 4680 | N/A | 96 | 6 | 9/5/2025 5:40:14 AM

## Experiment detail
LC-MS Conditions
LC Condition
Binary Gradient |  | Instrument | QTrap5500: LC-MS-MS-011
Time / min | B% | Flow | 0.5 mL/min
0.7 | 30 | Phase A | H2O - 0.1% Formic Acid
1 | 95 | Phase B | ACN - 0.1% Formic Acid
1.8 | 95
1.81 | 30 | Column | Agilent ZORBAX XDB-C18 (5 µm, 50 × 2.1 mm)(50-482)
3 | stop
MS Condition
Compounds | Q1/Q3 |  | DP | CE | CXP
HW356009-P1 | 604.30/411.10 |  | 90 | 42 | 15
IS (verapamil) | 455.20/165.10 |  | 90 | 35 | 15