## Signature
Study Report
Report Name | Thermodynamic Solubility Determinations of HW350003A in FaSSGF, FaSSIF and PBS pH 7.4
Pharmaron Study Number | ADME-RFY-240624
Pharmaron Report Number | ADME-RFY-Thermodynamic Solubility-20240627-HW350003A
Submitted to | 湖北生物医药产业技术研究院有限公司
Submitted by | in vitro ADME laboratory, Pharmaron
Study Start Date | 06/24/2024
Report Submission Date | 06/27/2024
Study Director | Haoyu Wang
Assay Scientist | Mengqing Wang
QC for the Key Steps of The Experiment | Qingqing Liu
QC for Raw Data and Data Analysis | Qingqing Liu
QC for Report | Haoyu Wang
Report Approval | Taiyu Guo

## Summary
Data Summary
Table 1. The solubility data of test compound and control compounds in FaSSGF
Compound ID | Solubility in FaSSGF (μg/mL) | Solubility in FaSSGF (μM)
Progesterone | 6.9634 | 22.1434
Diclofenac | 0.99374 | 3.1237
HW350003A | 32.7183 | 74.7916
Table 2. The solubility data of test compound and control compounds in FaSSIF
Compound ID | Solubility in FaSSIF (μg/mL) | Solubility in FaSSIF (μM)
Progesterone | 18.5484 | 58.983
Diclofenac | 453.4483 | 1425.3553
HW350003A | 52.1429 | 119.1946
Table 3. The solubility data of test compound and control compounds in PBS pH 7.4
Compound ID | Solubility in PBS pH 7.4 (μg/mL) | Solubility in PBS pH 7.4 (μM)
Progesterone | 4.4615 | 14.1875
Diclofenac | 867.2316 | 2726.0291
HW350003A | 19.9229 | 45.5422
Note: The upper limit was set at 1000 µg/mL. Any value close to or above 1000 µg/mL indicates that the compound may have a solubility at or above 1000 µg/mL.

## Materials
Materials
1. Test compound was provieded by the sponsor. The compound information is listed in Table 4.
Table 4. Compound Information
Compound ID | Client Lot# | MW (g/mol) | Purity
HW350003A | 20240618 | 437.46 | 98.41%
2. Control compounds (progesterone and diclofenac) were purchased from Sigma.
3. 1.5 mL glass flat bottom vials; Molded PTFE/SIL plugs (BioTech Solutions); PTFE encapsulated stir stick (V&P Scientific); MultiScreen Solvinert filter plate (Millipore); Eppendorf Thermomixer Comfort; Vacuum Manifold ORVMN96.
4. PBS pH 7.4 was prepared in our laboratory.
Add 1.42 g Na2HPO4 into 100 mL deionized water to prepare 100 mM Na2HPO4 solution. Add 1.20 g NaH2PO4 into 100 mL deionized water to prepare 100 mM NaH2PO4 solution. Mix 40 mL of 100 mM Na2HPO4 and 10 mL of 100 mM NaH2PO4 to pH 7.4, and adjust the mixed solution with 100 mM Na2HPO4/ NaH2PO4 solution.
5. FaSSIF was prepared in our laboratory.
a) Prepare buffer A Dissolve 0.420 g of NaOH, 3.438 g of NaH2PO4 and 6.186 g of NaCl into about 900 mL ultrapure water and adjust the pH of the solution to 6.5 with 1 N NaOH or 1 N HCl. Then dilute the solution with ultrapure water to 1000 mL at room temperature. b) Add powder Add 2.240 g of FaSSIF, FeSSIF and FaSSGF Powder to about 500 mL of buffer A. Stir until powder is completely dissolved. Then dilute the solution with buffer A to 1000 mL at room temperature. c) Ready to use Use within 48 hours at room temperature and 24 hours at 37°C.
6. FaSSGF was prepared in our laboratory.
a) Prepare buffer C Dissolve 2 g of NaCl into about 900 mL ultrapure water and adjust the pH of the solution to 1.6 with 1 N HCl. Then dilute the solution with ultrapure water to 1000 mL at room temperature. b) Add powder Add 0.06 g of FaSSIF, FeSSIF and FaSSGF Powder to about 500 mL of buffer C. Stir until powder is completely dissolved. Then dilute the solution with buffer C to 1000 mL at room temperature. c) Ready to use Use within 48 hours at room temperature and 24 hours at 37°C.

## Study Design
Study Procedure
1. Procedure for solubility determination
Weigh out about 1 mg of test compound(s) or control compounds each into glass insert vials. Add buffer into each vial of the cap-less Solubility Sample plate with the volume of 1 mL per mg. Add one stir stick to each vial and seal with a molded PTDE/SIL 96-Well Plate Cover. Transfer the Solubility Sample plate to the Eppendorf Thermomixer Comfort plate shaker and shake the plate at 25°C at 1,100 rpm for 24 hours. After completion of incubation, remove the stir sticks using a big magnet and transfer the samples from the Solubility Sample plate into a filter plate with pipettes. Using the Vacuum Manifold, all the compounds are filtered. Aliquot 5 µL filtrate and 5 µL DMSO followed by addition of 490 µL of a mixture of H2O and acetonitrile containing internal standard (1:1) as 100 fold diluted samples. Aliquot 50 µL of 100 fold diluted samples are further diluted by addition of 450 µL of a mixture of H2O and acetonitrile containing internal standard (1:1) as 1000 fold diluted samples. Aliquot 20 µL of 100 fold diluted samples are further diluted by addition of 180 µL of a mixture of H2O and acetonitrile containing internal standard (1:1) as 10000 fold diluted samples. A certain proportion of a mixture of H2O and acetonitrile containing internal standard (1:1) was used to dilute the diluent according to the peak shape. The dilution factor was changed according to the solubility values and the UPLC-MS/MS signal response.
2. Preparation of standards (STD)
Accurately weigh about 1 mg of the powder of each compound into a glass insert vial. Add DMSO into each vial of the Standard Plate with the volume of 1 mg per mL. Add one stir stick to each vial and seal with a molded PTDE/SIL 96-Well Plate Cover.Transfer the Solubility Sample plate to the Eppendorf Thermomixer Comfort plate shaker and shake the plate at 25°C at 1,100 rpm for 2 hours to dissolve the powder. Observe to see if there is any stock solution undissolved, take a record if the compound is insoluble in DMSO solution. Aliquot 5 µL 1000 ug/mL STD and 5 µL buffer followed by addition of 490 µL of a mixture of H2O and acetonitrile containing internal standard (1:1) as 100 fold diluted STD concentration of 10 µg/mL. Aliquot 50 µL of 100 fold diluted STD samples are further diluted by addition of 450 µL of a mixture of H2O and acetonitrile containing internal standard (1:1) as 1000 fold diluted STD to have a STD concentration of 1 µg/mL. Aliquot 20 µL of 100 fold diluted STD samples are further diluted by addition of 180 µL of a mixture of H2O and acetonitrile containing internal standard (1:1) as 10000 fold diluted STD to have a final STD concentration of 0.1 µg/mL. A certain proportion of a mixture of H2O and acetonitrile containing internal standard (1:1) was used to dilute the diluent according to the peak shape. The concentrations of the standard samples were changed according to the UPLC-MS/MS signal response.
3. Procedure for sample analysis
The plate was placed into the well plate autosampler. The samples were evaluated by LC-MS/MS analysis.
4. Data analysis
All calculations were carried out using Microsoft Excel.
The filtrate was analyzed and quantified against a standard of known concentration using LC coupled with mass spectral peak identification and quantitation. Solubility values of the test compound and control compound were calculated as follows:
DF means the dilution factor.
Any value of the compounds that was not within the specified limits was rejected and the experiment was repeated.
[Sample]
[Sample]=𝐴𝑟𝑒𝑎 𝑟𝑎𝑡𝑖𝑜 𝑆𝑎𝑚𝑝𝑙𝑒×𝐷𝐹 𝑆ample×[𝑆𝑇𝐷]/𝐴rea 𝑟𝑎𝑡𝑖𝑜 𝑆𝑇𝐷

## Bioanalytical Method
Bioanalytical Method
1. Chromatographic conditions
LC system: Shimadzu
MS analysis: Triple Quad 4500 instrument from AB Inc with an ESI interface
Column temperature: 40 °C
Column: XSelect HSS T3 2.5μm 2.1×50mm Column
Mobile phase: 0.1% formic acid in water (A) and 0.1% formic acid in acetonitrile (B)
Injection volume: 3 μL
Elution rate: 0.8 mL/min
Time (min) | 0 | 0.2 | 0.5 | 0.9 | 0.95 | 1.2
% B | 5 | 5 | 98 | 98 | 5 | 5
2. MS parameters
Ion source: Turbo spray
Ionization model: ESI
Scan type: MRM
Ionspray voltage: +5500 V
Compound ID | Q1 (m/z) | Q3 (m/z) | DP (V) | CE (V)
HW350003A | 438.4 | 263.1 | 123 | 33