## Signature
HCT116 Cell Proliferation Assay Report
Assay name | Cell Proliferation Assay with TEAD inhibitor
Purpose | To obtain IC50 of test compounds on HCT116 cell lines
Assay Date | 2024-11-21
Report Release Date | 2024-11-27
Assay Performed by | Xiulan Yang | Signature:
Study Director | Xin Zhao | Signature:
Report Prepared by | Xiulan Yang | Signature:
Report Approval | Xin Zhao | Signature:

## Summary
Assay Date | 2024-11-28
Assay name | HCT116 proliferation Assay
Cell line | HCT116 cell lines
Summary-HCT116
Entry | Compound ID | Start Conc., nM | Dilution Fold | Min Inhibition% | Max Inhibition% | Bottom | Top | R_IC50, nM | A_IC50, nM
1 | HW350003A | 10000 | 3 | 0 | 0 | 0.6076 | 87.13 | 34.42 | 39.902
2 | HW356005 | 10000 | 3 | 0 | 0 | -10.81 | -6.266 | ＞10000 | ＞10000
3 | HW356023-BP | 10000 | 3 | 0 | 0 | -16.11 | -3.29 | ＞10000 | ＞10000
4 | HW356051 | 10000 | 3 | 0 | 0 | -1.275 | 88.4 | 33.29 | 39.084
5 | HW356052 | 10000 | 3 | 0 | 0 | -5.242 | 92.67 | 75.25 | 87.096
6 | HW356053 | 10000 | 3 | 0 | 0 | -4.403 | 96.77 | 147.6 | 161.06

## Protocol
Objective
To obtain IC50 of test compounds on HCT116 cell lines
Incubation Time
120Hr
Method
CTG
Procedure
1. When cell confluence come to 80%, collect and count cells.
2. Dilute dilute cell suspension to 500 cells/well. Seed 100uls of cell suspensions into each well of a 96-well plate.
3.Return the cell plate into a 37 ℃, 5%CO2 incubator.
4. After 24 hours incubation, add 100ul of diluted compound solution into designated wells of the plate. The compound layout is on the next slide ,the final DMSO concentration is 0.1%.
5. Return the plate into the incubator for 120Hrs.
6. After 120hrs incubation, complete the CTG assay according to the manufacturer’s manual.
7. Data analysis
a) | Assay robustness check with DMSO and Medium control data:
H=Ave (DMSO)
L= Ave (Medium)
SD (H) =STDEV (DMSO)
SD (L) =STDEV (Medium)
CV% (DMSO) =100* (SD_H/Ave_H)
CV% (Medium) =100*SD_L/Ave_L
Z'=1-3*(SD_H+ SD_L)/ (Ave_H - Ave_L)
Inhibition%=(Ave_H-Sample)/(Ave_H-Ave_L)
b) | Fit the cpd IC50 from non-linear regression equation:
Y=Bottom + (Top-Bottom)/(1+10^((LogIC50-X)*HillSlope))
X: cpd concentration
Y: inhibition%
Top and Bottom: Plateaus in same units as Y
logIC50: same log units as X
HillSlope: Slope factor or Hill slope
c) | R_IC50=Relative IC50
A_IC50=Absolute IC50

## Compound Information
Compound Information
# | Compound ID | Solvent | Storage Condition | Stock (mM)
1 | HW350003A | DMSO | -20℃ | 10
2 | HW356005 | DMSO | -20℃ | 10
3 | HW356023-BP | DMSO | -20℃ | 10
4 | HW356051 | DMSO | -20℃ | 10
5 | HW356052 | DMSO | -20℃ | 10
6 | HW356053 | DMSO | -20℃ | 10
Compound Dilution
# | Compound ID | DMSO Stock | Start Conc. | Dose Dilution | Add 100 μL into 100 μL medium, Final DMSO 0.1%
|  |  | In Source Plate | 3-Fold Serial Dilution/dose 1-dose9 | Final Conc. in Assay Plate, nM
1 | HW350003A | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
2 | HW356005 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
3 | HW356023-BP | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
4 | HW356051 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
5 | HW356052 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
6 | HW356053 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000

## Raw Data IC50
Plate 1_Plate Map
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 1_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| B | 1027 | 39039 | 37623 | 40679 | 39086 | 53572 | 146388 | 252826 | 286472 | 297833 | 284900
| C | 2418 | 44851 | 49186 | 47947 | 54828 | 61080 | 154222 | 260371 | 294454 | 296196 | 295428
| D | 5687 | 331456 | 330521 | 326641 | 315561 | 314272 | 316330 | 313120 | 318143 | 319170 | 310694
| E | 6787 | 324857 | 330389 | 327923 | 324799 | 317660 | 315116 | 316335 | 313106 | 316928 | 310446
| F | 7534 | 360156 | 347235 | 340273 | 338896 | 327386 | 324340 | 322807 | 344193 | 322203 | 312788
| G | 5950 | 354237 | 317510 | 330864 | 334318 | 326154 | 313810 | 280452 | 277597 | 298747 | 271423
| H | Plate 1_Raw Data 1: Low Control; Plate 1_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | 297613.1667 | 16842.7419 | 0.056593 | 0.8009
|  | L | 4900.5 | 2583.8361 | 0.52726
Plate 1_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 1_Inhibition % 2: Conc. nM
HW350003A | B |  | 88.3372 | 88.8209 | 87.7769 | 88.3211 | 83.3723 | 51.6633 | 15.3007 | 3.8062 | -0.075102 | 4.3432
| C |  | 86.3516 | 84.8707 | 85.2939 | 82.9432 | 80.8073 | 48.987 | 12.7231 | 1.0793 | 0.48415 | 0.74652
HW356005 | D |  | -11.5618 | -11.2424 | -9.9168 | -6.1316 | -5.6912 | -6.3943 | -5.2976 | -7.0136 | -7.3645 | -4.4688
| E |  | -9.3074 | -11.1973 | -10.3548 | -9.2875 | -6.8486 | -5.9795 | -6.396 | -5.2928 | -6.5986 | -4.3841
HW356023-BP | F |  | -21.3666 | -16.9524 | -14.574 | -14.1035 | -10.1714 | -9.1307 | -8.607 | -15.9132 | -8.4007 | -5.1842
| G |  | -19.3445 | -6.7974 | -11.3595 | -12.5395 | -9.7505 | -5.5334 | 5.8628 | 6.8382 | -0.38735 | 8.9474
H
Plate 2_Plate Map | bar: Plate 1_Inhibition % 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 2_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| B | 553 | 24233 | 52229 | 43107 | 51971 | 63933 | 159190 | 270698 | 326290 | 334366 | 319252
| C | 613 | 22388 | 41118 | 40701 | 52799 | 64164 | 164207 | 312164 | 340782 | 345346 | 333652
| D | 396 | 8347 | 23761 | 44566 | 55441 | 107140 | 271202 | 344976 | 351547 | 345187 | 341447
| E | 327 | 6382 | 22685 | 38670 | 53225 | 127106 | 270157 | 349321 | 354273 | 349778 | 346713
| F | 267 | 4059 | 13829 | 27413 | 68092 | 210871 | 334493 | 356215 | 345052 | 347663 | 341457
| G | 211 | 3731 | 12534 | 25874 | 75930 | 192940 | 321764 | 347076 | 342276 | 352432 | 341658
| H | Plate 2_Raw Data 1: Low Control; Plate 2_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | 337363.1667 | 11948.3857 | 0.035417 | 0.89244
|  | L | 394.5 | 133.2201 | 0.33769
Plate 2_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 2_Inhibition % 2: Conc. nM
HW356051 | B |  | 92.9256 | 84.6174 | 87.3245 | 84.694 | 81.1441 | 52.8753 | 19.7838 | 3.2861 | 0.88945 | 5.3747
| C |  | 93.4731 | 87.9148 | 88.0385 | 84.4483 | 81.0755 | 51.3864 | 7.4782 | -1.0146 | -2.369 | 1.1013
HW356052 | D |  | 97.64 | 93.0657 | 86.8915 | 83.6642 | 68.3218 | 19.6342 | -2.2592 | -4.2092 | -2.3218 | -1.2119
| E |  | 98.2231 | 93.385 | 88.6412 | 84.3218 | 62.3967 | 19.9443 | -3.5486 | -5.0182 | -3.6843 | -2.7747
HW356053 | F |  | 98.9125 | 96.0131 | 91.9819 | 79.9099 | 37.5383 | 0.85176 | -5.5945 | -2.2818 | -3.0566 | -1.2149
| G |  | 99.0098 | 96.3974 | 92.4386 | 77.5838 | 42.8595 | 4.6293 | -2.8824 | -1.4579 | -4.4719 | -1.2745
H
Plate 3_Plate Map | bar: Plate 2_Inhibition % 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F | 11: 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 3_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
| H | Plate 3_Raw Data 1: Low Control; Plate 3_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | L | #DIV/0! | #DIV/0! | #DIV/0!
Plate 3_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 3_Inhibition % 2: Conc. nM
#REF! | B |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| C |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
D
E
F
G
H

## IC50 Curve
Title | HCT116 Cell Proliferation Assay Report
Luminescence
HW350003A | Inhibition % |  |  |  |  | Bottom | 0.6076
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 87.13
10000 | 88.3372 | 86.3516 | 87.3444 | 1.404 |  | R_IC50 | 34.42
3333.3333 | 88.8209 | 84.8707 | 86.8458 | 2.7933 |  | A_IC50 | 39.902
1111.1111 | 87.7769 | 85.2939 | 86.5354 | 1.7557
370.3704 | 88.3211 | 82.9432 | 85.6322 | 3.8028
123.4568 | 83.3723 | 80.8073 | 82.0898 | 1.8137
41.1523 | 51.6633 | 48.987 | 50.3252 | 1.8925
13.7174 | 15.3007 | 12.7231 | 14.0119 | 1.8226
4.5725 | 3.8062 | 1.0793 | 2.4427 | 1.9282
1.5242 | -0.075102 | 0.48415 | 0.20452 | 0.39545
0.050805 | 4.3432 | 0.74652 | 2.5449 | 2.5433 | DMSO
Luminescence
HW356005 | Inhibition % |  |  |  |  | Bottom | -10.81
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | -6.266
10000 | -11.5618 | -9.3074 | -10.4346 | 1.5941 |  | R_IC50 | ＞10000
3333.3333 | -11.2424 | -11.1973 | -11.2198 | 0.031887 |  | A_IC50 | ＞10000
1111.1111 | -9.9168 | -10.3548 | -10.1358 | 0.30969
370.3704 | -6.1316 | -9.2875 | -7.7096 | 2.2316
123.4568 | -5.6912 | -6.8486 | -6.2699 | 0.81844
41.1523 | -6.3943 | -5.9795 | -6.1869 | 0.29327
13.7174 | -5.2976 | -6.396 | -5.8468 | 0.77665
4.5725 | -7.0136 | -5.2928 | -6.1532 | 1.2168
1.5242 | -7.3645 | -6.5986 | -6.9815 | 0.5416
0.050805 | -4.4688 | -4.3841 | -4.4265 | 0.059909 | DMSO
Luminescence
HW356023-BP | Inhibition % |  |  |  |  | Bottom | -16.11
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | -3.29
10000 | -21.3666 | -19.3445 | -20.3556 | 1.4299 |  | R_IC50 | ＞10000
3333.3333 | -16.9524 | -6.7974 | -11.8749 | 7.1807 |  | A_IC50 | ＞10000
1111.1111 | -14.574 | -11.3595 | -12.9668 | 2.2729
370.3704 | -14.1035 | -12.5395 | -13.3215 | 1.1059
123.4568 | -10.1714 | -9.7505 | -9.9609 | 0.29761
41.1523 | -9.1307 | -5.5334 | -7.332 | 2.5437
13.7174 | -8.607 | 5.8628 | -1.3721 | 10.2317
4.5725 | -15.9132 | 6.8382 | -4.5375 | 16.0876
1.5242 | -8.4007 | -0.38735 | -4.394 | 5.6663
0.050805 | -5.1842 | 8.9474 | 1.8816 | 9.9926 | DMSO
Luminescence
HW356051 | Inhibition % |  |  |  |  | Bottom | -1.275
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 88.4
10000 | 92.9256 | 93.4731 | 93.1994 | 0.38716 |  | R_IC50 | 33.29
3333.3333 | 84.6174 | 87.9148 | 86.2661 | 2.3316 |  | A_IC50 | 39.084
1111.1111 | 87.3245 | 88.0385 | 87.6815 | 0.50488
370.3704 | 84.694 | 84.4483 | 84.5711 | 0.17375
123.4568 | 81.1441 | 81.0755 | 81.1098 | 0.048474
41.1523 | 52.8753 | 51.3864 | 52.1309 | 1.0528
13.7174 | 19.7838 | 7.4782 | 13.631 | 8.7014
4.5725 | 3.2861 | -1.0146 | 1.1358 | 3.0411
1.5242 | 0.88945 | -2.369 | -0.73978 | 2.3041
0.050805 | 5.3747 | 1.1013 | 3.238 | 3.0217 | DMSO
Luminescence
HW356052 | Inhibition % |  |  |  |  | Bottom | -5.242
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 92.67
10000 | 97.64 | 98.2231 | 97.9316 | 0.41234 |  | R_IC50 | 75.25
3333.3333 | 93.0657 | 93.385 | 93.2253 | 0.22579 |  | A_IC50 | 87.096
1111.1111 | 86.8915 | 88.6412 | 87.7664 | 1.2372
370.3704 | 83.6642 | 84.3218 | 83.993 | 0.46501
123.4568 | 68.3218 | 62.3967 | 65.3592 | 4.1897
41.1523 | 19.6342 | 19.9443 | 19.7893 | 0.21929
13.7174 | -2.2592 | -3.5486 | -2.9039 | 0.91177
4.5725 | -4.2092 | -5.0182 | -4.6137 | 0.57203
1.5242 | -2.3218 | -3.6843 | -3.003 | 0.96339
0.050805 | -1.2119 | -2.7747 | -1.9933 | 1.105 | DMSO
Luminescence
HW356053 | Inhibition % |  |  |  |  | Bottom | -4.403
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 96.77
10000 | 98.9125 | 99.0098 | 98.9612 | 0.068829 |  | R_IC50 | 147.6
3333.3333 | 96.0131 | 96.3974 | 96.2053 | 0.27175 |  | A_IC50 | 161.06
1111.1111 | 91.9819 | 92.4386 | 92.2103 | 0.32295
370.3704 | 79.9099 | 77.5838 | 78.7468 | 1.6448
123.4568 | 37.5383 | 42.8595 | 40.1989 | 3.7627
41.1523 | 0.85176 | 4.6293 | 2.7405 | 2.6711
13.7174 | -5.5945 | -2.8824 | -4.2385 | 1.9178
4.5725 | -2.2818 | -1.4579 | -1.8699 | 0.58253
1.5242 | -3.0566 | -4.4719 | -3.7642 | 1.0007
0.050805 | -1.2149 | -1.2745 | -1.2447 | 0.042179 | DMSO
Note on J4: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J5: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J18: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J19: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J32: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J33: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J46: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J47: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J60: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J61: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J74: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J75: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)