## Signature
HCT116 Cell Proliferation Assay Report
Assay name | Cell Proliferation Assay with TEAD inhibitor
Purpose | To obtain IC50 of test compounds on HCT116 cell lines
Assay Date | 2024-12-12
Report Release Date | 2024-12-18
Assay Performed by | Xiulan Yang | Signature:
Study Director | Xin Zhao | Signature:
Report Prepared by | Xiulan Yang | Signature:
Report Approval | Xin Zhao | Signature:

## Summary
Assay Date | 2024-12-18
Assay name | HCT116 proliferation Assay
Cell line | HCT116 cell lines
Summary-HCT116
Entry | Compound ID | Start Conc., nM | Dilution Fold | Bottom | Top | R_IC50, nM | A_IC50, nM
1 | HW350003A | 10000 | 3 | 4.265 | 90.12 | 22.96 | 24.266
2 | HW356035 | 10000 | 3 | 1.39 | 91.65 | 676.1 | 737.904
3 | HW356057 | 10000 | 3 | -2.652 | 91.86 | 14.29 | 16.1808
4 | HW356058 | 10000 | 3 | 1.695 | 95.8 | 94.1 | 96.8277
5 | HW356061 | 10000 | 3 | -0.4967 | 94.72 | 35.65 | 37.844
6 | HW356064 | 10000 | 3 | -0.5523 | 91.37 | 21.74 | 23.823

## Protocol
Objective
To obtain IC50 of test compounds on HCT116 cell lines
Incubation Time
120Hr
Method
CTG
Procedure
1. When cell confluence come to 80%, collect and count cells.
2. Dilute dilute cell suspension to 500 cells/well. Seed 100uls of cell suspensions into each well of a 96-well plate.
3.Return the cell plate into a 37 ℃, 5%CO2 incubator.
4. After 24 hours incubation, add 100ul of diluted compound solution into designated wells of the plate. The compound layout is on the next slide ,the final DMSO concentration is 0.1%.
5. Return the plate into the incubator for 120Hrs.
6. After 120hrs incubation, complete the CTG assay according to the manufacturer’s manual.
7. Data analysis
a) | Assay robustness check with DMSO and Medium control data:
H=Ave (DMSO)
L= Ave (Medium)
SD (H) =STDEV (DMSO)
SD (L) =STDEV (Medium)
CV% (DMSO) =100* (SD_H/Ave_H)
CV% (Medium) =100*SD_L/Ave_L
Z'=1-3*(SD_H+ SD_L)/ (Ave_H - Ave_L)
Inhibition%=(Ave_H-Sample)/(Ave_H-Ave_L)
b) | Fit the cpd IC50 from non-linear regression equation:
Y=Bottom + (Top-Bottom)/(1+10^((LogIC50-X)*HillSlope))
X: cpd concentration
Y: inhibition%
Top and Bottom: Plateaus in same units as Y
logIC50: same log units as X
HillSlope: Slope factor or Hill slope
c) | R_IC50=Relative IC50
A_IC50=Absolute IC50

## Compound Information
Compound Information
# | Compound ID | Solvent | Storage Condition | Stock (mM)
1 | HW350003A | DMSO | -20℃ | 10
2 | HW356035 | DMSO | -20℃ | 10
3 | HW356057 | DMSO | -20℃ | 10
4 | HW356058 | DMSO | -20℃ | 10
5 | HW356061 | DMSO | -20℃ | 10
6 | HW356064 | DMSO | -20℃ | 10
Compound Dilution
# | Compound ID | DMSO Stock | Start Conc. | Dose Dilution | Add 100 μL into 100 μL medium, Final DMSO 0.1%
|  |  | In Source Plate | 3-Fold Serial Dilution/dose 1-dose9 | Final Conc. in Assay Plate, nM
1 | HW350003A | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
2 | HW356035 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
3 | HW356057 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
4 | HW356058 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
5 | HW356061 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
6 | HW356064 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000

## Raw Data IC50
Plate 1_Plate Map
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 1_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| B | 1424 | 63603 | 65967 | 64688 | 62984 | 75800 | 156317 | 484241 | 608937 | 651299 | 656433
| C | 1824 | 51113 | 70084 | 70797 | 76719 | 91136 | 197769 | 531580 | 602452 | 637729 | 661497
| D | 1803 | 66409 | 80248 | 231364 | 531589 | 631141 | 643899 | 648624 | 652428 | 665081 | 650813
| E | 1750 | 69232 | 83013 | 242522 | 457081 | 625912 | 638756 | 657909 | 647568 | 645276 | 653480
| F | 1042 | 10147 | 53621 | 71207 | 76432 | 87807 | 131164 | 346407 | 626490 | 653112 | 673639
| G | 665 | 11476 | 59040 | 60341 | 67879 | 72906 | 148732 | 388294 | 635026 | 659039 | 671167
| H | Plate 1_Raw Data 1: Low Control; Plate 1_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | 661171.5 | 9427.2541 | 0.014258 | 0.95497
|  | L | 1418 | 475.7533 | 0.33551
Plate 1_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 1_Inhibition % 2: Conc. nM
HW350003A | B |  | 90.5745 | 90.2162 | 90.4101 | 90.6683 | 88.7258 | 76.5217 | 26.8177 | 7.9173 | 1.4964 | 0.71822
| C |  | 92.4676 | 89.5922 | 89.4841 | 88.5865 | 86.4013 | 70.2387 | 19.6424 | 8.9002 | 3.5532 | -0.049337
HW356035 | D |  | 90.1492 | 88.0516 | 65.1467 | 19.641 | 4.5518 | 2.618 | 1.9018 | 1.3253 | -0.59257 | 1.5701
| E |  | 89.7213 | 87.6325 | 63.4554 | 30.9344 | 5.3443 | 3.3976 | 0.4945 | 2.0619 | 2.4093 | 1.1658
HW356057 | F |  | 98.6769 | 92.0875 | 89.422 | 88.63 | 86.9059 | 80.3342 | 47.7094 | 5.2567 | 1.2216 | -1.8897
| G |  | 98.4755 | 91.2661 | 91.0689 | 89.9264 | 89.1644 | 77.6714 | 41.3605 | 3.9629 | 0.32323 | -1.515
H
Plate 2_Plate Map | bar: Plate 1_Inhibition % 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 2_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| B | 249 | 3322 | 15276 | 64997 | 84360 | 224487 | 508966 | 582411 | 599361 | 600864 | 617322
| C | 325 | 3507 | 15216 | 53996 | 84455 | 242785 | 515536 | 599312 | 608872 | 599521 | 597796
| D | 379 | 8487 | 15514 | 39207 | 61622 | 98553 | 282535 | 564993 | 609488 | 611514 | 626755
| E | 412 | 6373 | 18820 | 45517 | 57085 | 89482 | 260338 | 558608 | 608714 | 611076 | 619047
| F | 630 | 17597 | 66833 | 65545 | 68200 | 72599 | 152328 | 474668 | 591840 | 611407 | 625623
| G | 545 | 20929 | 48794 | 57952 | 64641 | 87484 | 167098 | 471822 | 597482 | 636849 | 614653
| H | Plate 2_Raw Data 1: Low Control; Plate 2_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | 616866 | 10469.0433 | 0.016971 | 0.94836
|  | L | 423.3333 | 141.1873 | 0.33351
Plate 2_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 2_Inhibition % 2: Conc. nM
HW356058 | B |  | 99.5298 | 97.5906 | 89.5248 | 86.3837 | 63.6521 | 17.5037 | 5.5893 | 2.8397 | 2.5959 | -0.073973
| C |  | 99.4998 | 97.6003 | 91.3094 | 86.3683 | 60.6838 | 16.4379 | 2.8476 | 1.2968 | 2.8137 | 3.0936
HW356061 | D |  | 98.6919 | 97.552 | 93.7085 | 90.0723 | 84.0813 | 54.2355 | 8.4149 | 1.1969 | 0.86821 | -1.6042
| E |  | 99.0348 | 97.0157 | 92.6849 | 90.8083 | 85.5528 | 57.8364 | 9.4507 | 1.3224 | 0.93926 | -0.3538
HW356064 | F |  | 97.2141 | 89.227 | 89.4359 | 89.0052 | 88.2916 | 75.3579 | 23.0675 | 4.0597 | 0.88556 | -1.4206
| G |  | 96.6735 | 92.1533 | 90.6676 | 89.5825 | 85.8769 | 72.9619 | 23.5292 | 3.1445 | -3.2417 | 0.359
H
Plate 3_Plate Map | bar: Plate 2_Inhibition % 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F | 11: 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 3_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
| H | Plate 3_Raw Data 1: Low Control; Plate 3_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | L | #DIV/0! | #DIV/0! | #DIV/0!
Plate 3_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 3_Inhibition % 2: Conc. nM
#REF! | B |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| C |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
D
E
F
G
H

## IC50 Curve
Title | HCT116 Cell Proliferation Assay Report
Luminescence
HW350003A | Inhibition % |  |  |  |  | Bottom | 4.265
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 90.12
10000 | 90.5745 | 92.4676 | 91.5211 | 1.3386 |  | R_IC50 | 22.96
3333.3333 | 90.2162 | 89.5922 | 89.9042 | 0.44125 |  | A_IC50 | 24.266
1111.1111 | 90.4101 | 89.4841 | 89.9471 | 0.65475
370.3704 | 90.6683 | 88.5865 | 89.6274 | 1.4721
123.4568 | 88.7258 | 86.4013 | 87.5635 | 1.6437
41.1523 | 76.5217 | 70.2387 | 73.3802 | 4.4427
13.7174 | 26.8177 | 19.6424 | 23.23 | 5.0737
4.5725 | 7.9173 | 8.9002 | 8.4087 | 0.69505
1.5242 | 1.4964 | 3.5532 | 2.5248 | 1.4544
0.050805 | 0.71822 | -0.049337 | 0.33444 | 0.54275 | DMSO
Luminescence
HW356035 | Inhibition % |  |  |  |  | Bottom | 1.39
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 91.65
10000 | 90.1492 | 89.7213 | 89.9353 | 0.30256 |  | R_IC50 | 676.1
3333.3333 | 88.0516 | 87.6325 | 87.8421 | 0.29635 |  | A_IC50 | 737.904
1111.1111 | 65.1467 | 63.4554 | 64.3011 | 1.1959
370.3704 | 19.641 | 30.9344 | 25.2877 | 7.9856
123.4568 | 4.5518 | 5.3443 | 4.9481 | 0.56043
41.1523 | 2.618 | 3.3976 | 3.0078 | 0.55121
13.7174 | 1.9018 | 0.4945 | 1.1982 | 0.99514
4.5725 | 1.3253 | 2.0619 | 1.6936 | 0.52088
1.5242 | -0.59257 | 2.4093 | 0.90837 | 2.1226
0.050805 | 1.5701 | 1.1658 | 1.3679 | 0.28584 | DMSO
Luminescence
HW356057 | Inhibition % |  |  |  |  | Bottom | -2.652
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 91.86
10000 | 98.6769 | 98.4755 | 98.5762 | 0.14244 |  | R_IC50 | 14.29
3333.3333 | 92.0875 | 91.2661 | 91.6768 | 0.58079 |  | A_IC50 | 16.1808
1111.1111 | 89.422 | 91.0689 | 90.2454 | 1.1646
370.3704 | 88.63 | 89.9264 | 89.2782 | 0.91669
123.4568 | 86.9059 | 89.1644 | 88.0352 | 1.5971
41.1523 | 80.3342 | 77.6714 | 79.0028 | 1.8829
13.7174 | 47.7094 | 41.3605 | 44.535 | 4.4893
4.5725 | 5.2567 | 3.9629 | 4.6098 | 0.91487
1.5242 | 1.2216 | 0.32323 | 0.77241 | 0.63524
0.050805 | -1.8897 | -1.515 | -1.7024 | 0.26494 | DMSO
Luminescence
HW356058 | Inhibition % |  |  |  |  | Bottom | 1.695
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 95.8
10000 | 99.5298 | 99.4998 | 99.5148 | 0.021221 |  | R_IC50 | 94.1
3333.3333 | 97.5906 | 97.6003 | 97.5955 | 0.0068825 |  | A_IC50 | 96.8277
1111.1111 | 89.5248 | 91.3094 | 90.4171 | 1.2619
370.3704 | 86.3837 | 86.3683 | 86.376 | 0.010897
123.4568 | 63.6521 | 60.6838 | 62.168 | 2.0989
41.1523 | 17.5037 | 16.4379 | 16.9708 | 0.75363
13.7174 | 5.5893 | 2.8476 | 4.2185 | 1.9387
4.5725 | 2.8397 | 1.2968 | 2.0682 | 1.091
1.5242 | 2.5959 | 2.8137 | 2.7048 | 0.15405
0.050805 | -0.073973 | 3.0936 | 1.5098 | 2.2398 | DMSO
Luminescence
HW356061 | Inhibition % |  |  |  |  | Bottom | -0.4967
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 94.72
10000 | 98.6919 | 99.0348 | 98.8634 | 0.24249 |  | R_IC50 | 35.65
3333.3333 | 97.552 | 97.0157 | 97.2838 | 0.37922 |  | A_IC50 | 37.844
1111.1111 | 93.7085 | 92.6849 | 93.1967 | 0.72381
370.3704 | 90.0723 | 90.8083 | 90.4403 | 0.52043
123.4568 | 84.0813 | 85.5528 | 84.8171 | 1.0405
41.1523 | 54.2355 | 57.8364 | 56.0359 | 2.5462
13.7174 | 8.4149 | 9.4507 | 8.9328 | 0.73241
4.5725 | 1.1969 | 1.3224 | 1.2596 | 0.088784
1.5242 | 0.86821 | 0.93926 | 0.90373 | 0.050242
0.050805 | -1.6042 | -0.3538 | -0.979 | 0.88417 | DMSO
Luminescence
HW356064 | Inhibition % |  |  |  |  | Bottom | -0.5523
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 91.37
10000 | 97.2141 | 96.6735 | 96.9438 | 0.38221 |  | R_IC50 | 21.74
3333.3333 | 89.227 | 92.1533 | 90.6901 | 2.0692 |  | A_IC50 | 23.823
1111.1111 | 89.4359 | 90.6676 | 90.0518 | 0.87098
370.3704 | 89.0052 | 89.5825 | 89.2939 | 0.40824
123.4568 | 88.2916 | 85.8769 | 87.0843 | 1.7074
41.1523 | 75.3579 | 72.9619 | 74.1599 | 1.6942
13.7174 | 23.0675 | 23.5292 | 23.2984 | 0.32646
4.5725 | 4.0597 | 3.1445 | 3.6021 | 0.64718
1.5242 | 0.88556 | -3.2417 | -1.178 | 2.9184
0.050805 | -1.4206 | 0.359 | -0.53079 | 1.2583 | DMSO
Note on J4: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J5: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J18: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J19: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J32: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J33: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J46: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J47: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J60: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J61: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J74: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J75: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)