## Signature
HCT116 Cell Proliferation Assay Report
Assay name | Cell Proliferation Assay with TEAD inhibitor
Purpose | To obtain IC50 of test compounds on HCT116 cell lines
Assay Date | 2024-12-29
Report Release Date | 2025-01-06
Assay Performed by | Xiulan Yang | Signature:
Study Director | Zhikui Cheng | Signature:
Report Prepared by | Xiulan Yang | Signature:
Report Approval | Zhikui Cheng | Signature:

## Summary
Assay Date | 2025-01-06
Assay name | HCT116 proliferation Assay
Cell line | HCT116 cell lines
Summary-HCT116
Entry | Compound ID | Start Conc., nM | Dilution Fold | Bottom | Top | R_IC50, nM | A_IC50, nM
1 | HW350003A | 10000 | 3 | 1.286 | 94.57 | 38.81 | 40.364
2 | HW356055 | 10000 | 3 | -4.584 | 95.84 | 74.72 | 81.47
3 | HW356056 | 10000 | 3 | -4.899 | 95.39 | 84.58 | 91.83
4 | HW356059 | 10000 | 3 | 5.219 | 94.96 | 100.8 | 100.69
5 | HW356068 | 10000 | 3 | -1.289 | 95.13 | 24.88 | 26.24
6 | HW356069 | 10000 | 3 | -3.368 | 93.61 | 66.8 | 72.777

## Protocol
Objective
To obtain IC50 of test compounds on HCT116 cell lines
Incubation Time
120Hr
Method
CTG
Procedure
1. When cell confluence come to 80%, collect and count cells.
2. Dilute dilute cell suspension to 500 cells/well. Seed 100uls of cell suspensions into each well of a 96-well plate.
3.Return the cell plate into a 37 ℃, 5%CO2 incubator.
4. After 24 hours incubation, add 100ul of diluted compound solution into designated wells of the plate. The compound layout is on the next slide ,the final DMSO concentration is 0.1%.
5. Return the plate into the incubator for 120Hrs.
6. After 120hrs incubation, complete the CTG assay according to the manufacturer’s manual.
7. Data analysis
a) | Assay robustness check with DMSO and Medium control data:
H=Ave (DMSO)
L= Ave (Medium)
SD (H) =STDEV (DMSO)
SD (L) =STDEV (Medium)
CV% (DMSO) =100* (SD_H/Ave_H)
CV% (Medium) =100*SD_L/Ave_L
Z'=1-3*(SD_H+ SD_L)/ (Ave_H - Ave_L)
Inhibition%=(Ave_H-Sample)/(Ave_H-Ave_L)
b) | Fit the cpd IC50 from non-linear regression equation:
Y=Bottom + (Top-Bottom)/(1+10^((LogIC50-X)*HillSlope))
X: cpd concentration
Y: inhibition%
Top and Bottom: Plateaus in same units as Y
logIC50: same log units as X
HillSlope: Slope factor or Hill slope
c) | R_IC50=Relative IC50
A_IC50=Absolute IC50

## Compound Information
Compound Information
# | Compound ID | Solvent | Storage Condition | Stock (mM)
1 | HW350003A | DMSO | -20℃ | 10
2 | HW356055 | DMSO | -20℃ | 10
3 | HW356056 | DMSO | -20℃ | 10
4 | HW356059 | DMSO | -20℃ | 10
5 | HW356068 | DMSO | -20℃ | 10
6 | HW356069 | DMSO | -20℃ | 10
Compound Dilution
# | Compound ID | DMSO Stock | Start Conc. | Dose Dilution | Add 100 μL into 100 μL medium, Final DMSO 0.1%
|  |  | In Source Plate | 3-Fold Serial Dilution/dose 1-dose9 | Final Conc. in Assay Plate, nM
1 | HW350003A | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
2 | HW356055 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
3 | HW356056 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
4 | HW356059 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
5 | HW356068 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
6 | HW356069 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000

## Raw Data IC50
Plate 1_Plate Map
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 1_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| B | 560 | 20800 | 28750 | 22474 | 29805 | 57215 | 231274 | 406336 | 438577 | 453097 | 451600
| C | 738 | 28814 | 26590 | 29449 | 28543 | 54670 | 229536 | 440532 | 468640 | 481380 | 449857
| D | 518 | 8729 | 25182 | 30204 | 34984 | 155058 | 366073 | 490679 | 477216 | 483880 | 476912
| E | 424 | 10495 | 22125 | 25354 | 43153 | 137963 | 389505 | 482229 | 493543 | 484017 | 475104
| F | 407 | 7213 | 28696 | 29905 | 44559 | 164851 | 429527 | 500262 | 504041 | 505739 | 485728
| G | 314 | 6922 | 25578 | 28177 | 41200 | 152143 | 407380 | 466312 | 469047 | 486188 | 472541
| H | Plate 1_Raw Data 1: Low Control; Plate 1_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | 468623.6667 | 14564.257 | 0.031079 | 0.90572
|  | L | 493.5 | 147.8753 | 0.29965
Plate 1_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 1_Inhibition % 2: Conc. nM
HW350003A | B |  | 95.6622 | 93.964 | 95.3046 | 93.7386 | 87.8834 | 50.7016 | 13.3056 | 6.4184 | 3.3167 | 3.6365
| C |  | 93.9503 | 94.4254 | 93.8146 | 94.0082 | 88.427 | 51.0729 | 6.0008 | -0.0034891 | -2.725 | 4.0089
HW356055 | D |  | 98.2408 | 94.7261 | 93.6534 | 92.6323 | 66.9826 | 21.9064 | -4.7114 | -1.8355 | -3.259 | -1.7705
| E |  | 97.8635 | 95.3792 | 94.6894 | 90.8873 | 70.6343 | 16.901 | -2.9063 | -5.3232 | -3.2883 | -1.3843
HW356056 | F |  | 98.5646 | 93.9755 | 93.7172 | 90.5869 | 64.8906 | 8.3517 | -6.7584 | -7.5657 | -7.9284 | -3.6538
| G |  | 98.6268 | 94.6416 | 94.0864 | 91.3044 | 67.6053 | 13.0826 | 0.49381 | -0.090431 | -3.752 | -0.8368
H
Plate 2_Plate Map | bar: Plate 1_Inhibition % 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 2_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| B | 453 | 19791 | 26359 | 25694 | 40149 | 174019 | 370386 | 420728 | 405043 | 420424 | 434595
| C | 577 | 21833 | 28202 | 25529 | 36505 | 185499 | 399385 | 450520 | 429322 | 452754 | 417026
| D | 422 | 7723 | 18878 | 24913 | 29619 | 38433 | 120248 | 385011 | 449559 | 463069 | 466612
| E | 487 | 10134 | 20684 | 28822 | 28763 | 41679 | 121491 | 369746 | 446073 | 462349 | 467074
| F | 756 | 30646 | 25777 | 34765 | 37582 | 120770 | 349465 | 473600 | 471894 | 475064 | 466730
| G | 616 | 27232 | 34192 | 28069 | 33882 | 106534 | 375686 | 448031 | 454522 | 471462 | 472540
| H | Plate 2_Raw Data 1: Low Control; Plate 2_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | 454096.1667 | 22712.7794 | 0.050018 | 0.84894
|  | L | 551.8333 | 124.3084 | 0.22526
Plate 2_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 2_Inhibition % 2: Conc. nM
HW356059 | B |  | 95.758 | 94.3099 | 94.4565 | 91.2694 | 61.753 | 18.4569 | 7.3572 | 10.8155 | 7.4242 | 4.2997
| C |  | 95.3078 | 93.9035 | 94.4929 | 92.0728 | 59.2218 | 12.063 | 0.78849 | 5.4623 | 0.29593 | 8.1734
HW356068 | D |  | 98.4189 | 95.9593 | 94.6287 | 93.5911 | 91.6477 | 73.6087 | 15.2323 | 1.0004 | -1.9784 | -2.7596
| E |  | 97.8873 | 95.5611 | 93.7668 | 93.7798 | 90.9321 | 73.3347 | 18.598 | 1.769 | -1.8196 | -2.8614
HW356069 | F |  | 93.3647 | 94.4382 | 92.4565 | 91.8354 | 73.4936 | 23.0697 | -4.3003 | -3.9242 | -4.6231 | -2.7856
| G |  | 94.1174 | 92.5828 | 93.9329 | 92.6512 | 76.6325 | 17.2883 | 1.3373 | -0.09389 | -3.8289 | -4.0666
H
Plate 3_Plate Map | bar: Plate 2_Inhibition % 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F | 11: 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 3_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
| H | Plate 3_Raw Data 1: Low Control; Plate 3_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | L | #DIV/0! | #DIV/0! | #DIV/0!
Plate 3_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 3_Inhibition % 2: Conc. nM
#REF! | B |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| C |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
D
E
F
G
H

## IC50 Curve
Title | HCT116 Cell Proliferation Assay Report
Luminescence
HW350003A | Inhibition % |  |  |  |  | Bottom | 1.286
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 94.57
10000 | 95.6622 | 93.9503 | 94.8063 | 1.2105 |  | R_IC50 | 38.81
3333.3333 | 93.964 | 94.4254 | 94.1947 | 0.32627 |  | A_IC50 | 40.364
1111.1111 | 95.3046 | 93.8146 | 94.5596 | 1.0536
370.3704 | 93.7386 | 94.0082 | 93.8734 | 0.19062
123.4568 | 87.8834 | 88.427 | 88.1552 | 0.38442
41.1523 | 50.7016 | 51.0729 | 50.8873 | 0.26252
13.7174 | 13.3056 | 6.0008 | 9.6532 | 5.1653
4.5725 | 6.4184 | -0.0034891 | 3.2075 | 4.541
1.5242 | 3.3167 | -2.725 | 0.29589 | 4.2721
0.050805 | 3.6365 | 4.0089 | 3.8227 | 0.26328 | DMSO
Luminescence
HW356055 | Inhibition % |  |  |  |  | Bottom | -4.584
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 95.84
10000 | 98.2408 | 97.8635 | 98.0521 | 0.26675 |  | R_IC50 | 74.72
3333.3333 | 94.7261 | 95.3792 | 95.0527 | 0.46176 |  | A_IC50 | 81.47
1111.1111 | 93.6534 | 94.6894 | 94.1714 | 0.73259
370.3704 | 92.6323 | 90.8873 | 91.7598 | 1.2339
123.4568 | 66.9826 | 70.6343 | 68.8085 | 2.5822
41.1523 | 21.9064 | 16.901 | 19.4037 | 3.5394
13.7174 | -4.7114 | -2.9063 | -3.8088 | 1.2764
4.5725 | -1.8355 | -5.3232 | -3.5793 | 2.4662
1.5242 | -3.259 | -3.2883 | -3.2736 | 0.020694
0.050805 | -1.7705 | -1.3843 | -1.5774 | 0.2731 | DMSO
Luminescence
HW356056 | Inhibition % |  |  |  |  | Bottom | -4.899
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 95.39
10000 | 98.5646 | 98.6268 | 98.5957 | 0.043955 |  | R_IC50 | 84.58
3333.3333 | 93.9755 | 94.6416 | 94.3085 | 0.47097 |  | A_IC50 | 91.83
1111.1111 | 93.7172 | 94.0864 | 93.9018 | 0.26101
370.3704 | 90.5869 | 91.3044 | 90.9457 | 0.50737
123.4568 | 64.8906 | 67.6053 | 66.248 | 1.9195
41.1523 | 8.3517 | 13.0826 | 10.7171 | 3.3453
13.7174 | -6.7584 | 0.49381 | -3.1323 | 5.1281
4.5725 | -7.5657 | -0.090431 | -3.8281 | 5.2858
1.5242 | -7.9284 | -3.752 | -5.8402 | 2.9532
0.050805 | -3.6538 | -0.8368 | -2.2453 | 1.9919 | DMSO
Luminescence
HW356059 | Inhibition % |  |  |  |  | Bottom | 5.219
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 94.96
10000 | 95.758 | 95.3078 | 95.5329 | 0.31836 |  | R_IC50 | 100.8
3333.3333 | 94.3099 | 93.9035 | 94.1067 | 0.28734 |  | A_IC50 | 100.69
1111.1111 | 94.4565 | 94.4929 | 94.4747 | 0.025725
370.3704 | 91.2694 | 92.0728 | 91.6711 | 0.56812
123.4568 | 61.753 | 59.2218 | 60.4874 | 1.7898
41.1523 | 18.4569 | 12.063 | 15.26 | 4.5211
13.7174 | 7.3572 | 0.78849 | 4.0728 | 4.6448
4.5725 | 10.8155 | 5.4623 | 8.1389 | 3.7853
1.5242 | 7.4242 | 0.29593 | 3.8601 | 5.0405
0.050805 | 4.2997 | 8.1734 | 6.2366 | 2.7391 | DMSO
Luminescence
HW356068 | Inhibition % |  |  |  |  | Bottom | -1.289
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 95.13
10000 | 98.4189 | 97.8873 | 98.1531 | 0.37589 |  | R_IC50 | 24.88
3333.3333 | 95.9593 | 95.5611 | 95.7602 | 0.28157 |  | A_IC50 | 26.24
1111.1111 | 94.6287 | 93.7668 | 94.1978 | 0.60944
370.3704 | 93.5911 | 93.7798 | 93.6855 | 0.13346
123.4568 | 91.6477 | 90.9321 | 91.2899 | 0.50607
41.1523 | 73.6087 | 73.3347 | 73.4717 | 0.19379
13.7174 | 15.2323 | 18.598 | 16.9151 | 2.3799
4.5725 | 1.0004 | 1.769 | 1.3847 | 0.54349
1.5242 | -1.9784 | -1.8196 | -1.899 | 0.11225
0.050805 | -2.7596 | -2.8614 | -2.8105 | 0.072029 | DMSO
Luminescence
HW356069 | Inhibition % |  |  |  |  | Bottom | -3.368
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 93.61
10000 | 93.3647 | 94.1174 | 93.741 | 0.53227 |  | R_IC50 | 66.8
3333.3333 | 94.4382 | 92.5828 | 93.5105 | 1.312 |  | A_IC50 | 72.777
1111.1111 | 92.4565 | 93.9329 | 93.1947 | 1.044
370.3704 | 91.8354 | 92.6512 | 92.2433 | 0.57686
123.4568 | 73.4936 | 76.6325 | 75.063 | 2.2195
41.1523 | 23.0697 | 17.2883 | 20.179 | 4.088
13.7174 | -4.3003 | 1.3373 | -1.4815 | 3.9864
4.5725 | -3.9242 | -0.09389 | -2.009 | 2.7084
1.5242 | -4.6231 | -3.8289 | -4.226 | 0.56158
0.050805 | -2.7856 | -4.0666 | -3.4261 | 0.90582 | DMSO
Note on J4: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J5: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J18: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J19: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J32: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J33: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J46: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J47: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J60: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J61: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J74: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J75: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)