## Signature
HCT116 Cell Proliferation Assay Report
Assay name | Cell Proliferation Assay with TEAD inhibitor
Purpose | To obtain IC50 of test compounds on HCT116 cell lines
Assay Date | 2025-03-13
Report Release Date | 2025-03-18
Assay Performed by | Xiulan Yang | Signature:
Study Director | Zhikui Cheng | Signature:
Report Prepared by | Xiulan Yang | Signature:
Report Approval | Zhikui Cheng | Signature:

## Summary
Assay Date | 2025-01-15
Assay name | HCT116 proliferation Assay
Cell line | HCT116 cell lines
Summary-HCT116
Entry | Compound ID | Start Conc., nM | Dilution Fold | Bottom | Top | R_IC50, nM | A_IC50, nM
1 | HW350003A | 10000 | 3 | -5.122 | 87.29 | 66.3 | 78.342
2 | HW356016 | 10000 | 3 | -7.031 | 88.2 | 424.9 | 510.5
3 | HW356054 | 10000 | 3 | -1.588 | 89.21 | 190.1 | 219.28
4 | HW356060 | 10000 | 3 | -2.322 | 87.54 | 53.49 | 63.679
5 | HW356070 | 10000 | 3 | -7.11 | 86.46 | 236.4 | 292.415
6 | HW356071 | 10000 | 3 | -6.488 | 86.58 | 96.89 | 117.489

## Protocol
Objective
To obtain IC50 of test compounds on HCT116 cell lines
Incubation Time
120Hr
Method
CTG
Procedure
1. When cell confluence come to 80%, collect and count cells.
2. Dilute dilute cell suspension to 500 cells/well. Seed 100uls of cell suspensions into each well of a 96-well plate.
3.Return the cell plate into a 37 ℃, 5%CO2 incubator.
4. After 24 hours incubation, add 100ul of diluted compound solution into designated wells of the plate. The compound layout is on the next slide ,the final DMSO concentration is 0.1%.
5. Return the plate into the incubator for 120Hrs.
6. After 120hrs incubation, complete the CTG assay according to the manufacturer’s manual.
7. Data analysis
a) | Assay robustness check with DMSO and Medium control data:
H=Ave (DMSO)
L= Ave (Medium)
SD (H) =STDEV (DMSO)
SD (L) =STDEV (Medium)
CV% (DMSO) =100* (SD_H/Ave_H)
CV% (Medium) =100*SD_L/Ave_L
Z'=1-3*(SD_H+ SD_L)/ (Ave_H - Ave_L)
Inhibition%=(Ave_H-Sample)/(Ave_H-Ave_L)
b) | Fit the cpd IC50 from non-linear regression equation:
Y=Bottom + (Top-Bottom)/(1+10^((LogIC50-X)*HillSlope))
X: cpd concentration
Y: inhibition%
Top and Bottom: Plateaus in same units as Y
logIC50: same log units as X
HillSlope: Slope factor or Hill slope
c) | R_IC50=Relative IC50
A_IC50=Absolute IC50

## Compound Information
Compound Information
# | Compound ID | Solvent | Storage Condition | Stock (mM)
1 | HW350003A | DMSO | -20℃ | 10
2 | HW356016 | DMSO | -20℃ | 10
3 | HW356054 | DMSO | -20℃ | 10
4 | HW356060 | DMSO | -20℃ | 10
5 | HW356070 | DMSO | -20℃ | 10
6 | HW356071 | DMSO | -20℃ | 10
Compound Dilution
# | Compound ID | DMSO Stock | Start Conc. | Dose Dilution | Add 100 μL into 100 μL medium, Final DMSO 0.1%
|  |  | In Source Plate | 3-Fold Serial Dilution/dose 1-dose9 | Final Conc. in Assay Plate, nM
1 | HW350003A | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
2 | HW356016 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
3 | HW356054 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
4 | HW356060 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
5 | HW356070 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000
6 | HW356071 | 10 mM | 10 mM | Add 5 μL 10 mM into 10 μL DMSO | 10000

## Raw Data IC50
Plate 1_Plate Map
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 1_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| B | 1839 | 94407 | 92809 | 98909 | 117573 | 223259 | 585613 | 739566 | 737548 | 750340 | 727317
| C | 2354 | 85857 | 92702 | 89718 | 112684 | 216832 | 616327 | 776835 | 786672 | 776753 | 753043
| D | 2597 | 92359 | 99466 | 156018 | 530710 | 726965 | 807064 | 792539 | 814772 | 811745 | 746634
| E | 2613 | 101488 | 92721 | 146799 | 461759 | 698734 | 778747 | 758422 | 734022 | 773840 | 762370
| F | 2515 | 81997 | 83786 | 106525 | 234201 | 536879 | 742380 | 759187 | 746938 | 755519 | 706412
| G | 1867 | 75866 | 90784 | 95247 | 212778 | 546936 | 669579 | 700004 | 710916 | 765868 | 681294
| H | Plate 1_Raw Data 1: Low Control; Plate 1_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | 729511.6667 | 30951.3249 | 0.042427 | 0.87085
|  | L | 2297.5 | 356.4524 | 0.15515
Plate 1_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 1_Inhibition % 2: Conc. nM
HW350003A | B |  | 87.3339 | 87.5537 | 86.7148 | 84.1483 | 69.6153 | 19.7877 | -1.3826 | -1.1051 | -2.8641 | 0.30179
| C |  | 88.5096 | 87.5684 | 87.9787 | 84.8206 | 70.4991 | 15.5641 | -6.5075 | -7.8602 | -6.4962 | -3.2358
HW356016 | D |  | 87.6155 | 86.6383 | 78.8617 | 27.3374 | 0.35019 | -10.6643 | -8.667 | -11.7242 | -11.308 | -2.3545
| E |  | 86.3602 | 87.5658 | 80.1294 | 36.819 | 4.2323 | -6.7704 | -3.9755 | -0.62022 | -6.0956 | -4.5184
HW356054 | F |  | 89.0404 | 88.7944 | 85.6676 | 68.1107 | 26.4891 | -1.7695 | -4.0807 | -2.3963 | -3.5763 | 3.1765
| G |  | 89.8835 | 87.8321 | 87.2184 | 71.0566 | 25.1062 | 8.2414 | 4.0576 | 2.5571 | -4.9994 | 6.6305
H
Plate 2_Plate Map | bar: Plate 1_Inhibition % 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: Medium; 2: Conc. nM; 11: DMSO
| B |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
C | bar: 1; 11
| D |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
E | bar: 1; 11
| F |  | 10000 | 3333.3333 | 1111.1111 | 370.3704 | 123.4568 | 41.1523 | 13.7174 | 4.5725 | 1.5242 | 0
G | bar: 1; 11
| H | 1: Low control; 11: High Control
Plate 2_Raw Data
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
| B | 2017 | 96302 | 93000 | 75270 | 90459 | 191925 | 491010 | 633631 | 669167 | 705555 | 671417
| C | 2775 | 112228 | 92681 | 90051 | 102063 | 217621 | 472710 | 741687 | 768814 | 741531 | 664037
| D | 2895 | 111265 | 91358 | 129963 | 273537 | 646402 | 762998 | 778592 | 781468 | 736755 | 746019
| E | 2690 | 94122 | 86376 | 133795 | 288014 | 607040 | 734304 | 740470 | 745727 | 766418 | 729741
| F | 2782 | 97965 | 94002 | 85884 | 163280 | 337510 | 720233 | 778555 | 779554 | 721702 | 729733
| G | 1893 | 84103 | 94585 | 89125 | 148361 | 321232 | 638870 | 753874 | 730535 | 747002 | 718589
| H | Plate 2_Raw Data 1: Low Control; Plate 2_Raw Data 11: High Control
|  | 0.1%DMSO | Ave | SD | CV | Z'
|  | H | 709922.6667 | 41154.8387 | 0.057971 | 0.8238
|  | L | 2508.6667 | 393.9149 | 0.15702
Plate 2_Inhibition %
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | Plate 2_Inhibition % 2: Conc. nM
HW356060 | B |  | 86.7414 | 87.2082 | 89.7145 | 87.5673 | 73.2241 | 30.9455 | 10.7846 | 5.7612 | 0.61741 | 5.4432
| C |  | 84.4901 | 87.2532 | 87.625 | 85.927 | 69.5917 | 33.5324 | -4.4902 | -8.3249 | -4.4682 | 6.4864
HW356070 | D |  | 84.6262 | 87.4403 | 81.9831 | 61.6875 | 8.9793 | -7.5027 | -9.7071 | -10.1136 | -3.793 | -5.1026
| E |  | 87.0495 | 88.1445 | 81.4414 | 59.641 | 14.5435 | -3.4465 | -4.3182 | -5.0613 | -7.9862 | -2.8015
HW356071 | F |  | 86.5063 | 87.0665 | 88.2141 | 77.2734 | 52.6442 | -1.4575 | -9.7019 | -9.8431 | -1.6651 | -2.8004
| G |  | 88.4658 | 86.9841 | 87.7559 | 79.3823 | 54.9453 | 10.044 | -6.213 | -2.9138 | -5.2415 | -1.2251
H

## IC50 Curve
Title | HCT116 Cell Proliferation Assay Report
Luminescence
HW350003A | Inhibition % |  |  |  |  | Bottom | -5.122
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 87.29
10000 | 87.3339 | 88.5096 | 87.9218 | 0.83136 |  | R_IC50 | 66.3
3333.3333 | 87.5537 | 87.5684 | 87.561 | 0.010404 |  | A_IC50 | 78.342
1111.1111 | 86.7148 | 87.9787 | 87.3468 | 0.89369
370.3704 | 84.1483 | 84.8206 | 84.4845 | 0.47538
123.4568 | 69.6153 | 70.4991 | 70.0572 | 0.62493
41.1523 | 19.7877 | 15.5641 | 17.6759 | 2.9865
13.7174 | -1.3826 | -6.5075 | -3.945 | 3.6239
4.5725 | -1.1051 | -7.8602 | -4.4826 | 4.7766
1.5242 | -2.8641 | -6.4962 | -4.6802 | 2.5683
0.050805 | 0.30179 | -3.2358 | -1.467 | 2.5015 | DMSO
Luminescence
HW356016 | Inhibition % |  |  |  |  | Bottom | -7.031
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 88.2
10000 | 87.6155 | 86.3602 | 86.9879 | 0.88766 |  | R_IC50 | 424.9
3333.3333 | 86.6383 | 87.5658 | 87.102 | 0.65585 |  | A_IC50 | 510.5
1111.1111 | 78.8617 | 80.1294 | 79.4956 | 0.89641
370.3704 | 27.3374 | 36.819 | 32.0782 | 6.7045
123.4568 | 0.35019 | 4.2323 | 2.2912 | 2.745
41.1523 | -10.6643 | -6.7704 | -8.7174 | 2.7534
13.7174 | -8.667 | -3.9755 | -6.3212 | 3.3174
4.5725 | -11.7242 | -0.62022 | -6.1722 | 7.8517
1.5242 | -11.308 | -6.0956 | -8.7018 | 3.6857
0.050805 | -2.3545 | -4.5184 | -3.4364 | 1.5301 | DMSO
Luminescence
HW356054 | Inhibition % |  |  |  |  | Bottom | -1.588
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 89.21
10000 | 89.0404 | 89.8835 | 89.462 | 0.59615 |  | R_IC50 | 190.1
3333.3333 | 88.7944 | 87.8321 | 88.3133 | 0.68045 |  | A_IC50 | 219.28
1111.1111 | 85.6676 | 87.2184 | 86.443 | 1.0966
370.3704 | 68.1107 | 71.0566 | 69.5837 | 2.0831
123.4568 | 26.4891 | 25.1062 | 25.7977 | 0.97789
41.1523 | -1.7695 | 8.2414 | 3.2359 | 7.0788
13.7174 | -4.0807 | 4.0576 | -0.011528 | 5.7547
4.5725 | -2.3963 | 2.5571 | 0.080398 | 3.5026
1.5242 | -3.5763 | -4.9994 | -4.2878 | 1.0063
0.050805 | 3.1765 | 6.6305 | 4.9035 | 2.4423 | DMSO
Luminescence
HW356060 | Inhibition % |  |  |  |  | Bottom | -2.322
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 87.54
10000 | 86.7414 | 84.4901 | 85.6157 | 1.5919 |  | R_IC50 | 53.49
3333.3333 | 87.2082 | 87.2532 | 87.2307 | 0.031886 |  | A_IC50 | 63.679
1111.1111 | 89.7145 | 87.625 | 88.6697 | 1.4775
370.3704 | 87.5673 | 85.927 | 86.7472 | 1.1599
123.4568 | 73.2241 | 69.5917 | 71.4079 | 2.5685
41.1523 | 30.9455 | 33.5324 | 32.2389 | 1.8292
13.7174 | 10.7846 | -4.4902 | 3.1472 | 10.8009
4.5725 | 5.7612 | -8.3249 | -1.2818 | 9.9604
1.5242 | 0.61741 | -4.4682 | -1.9254 | 3.596
0.050805 | 5.4432 | 6.4864 | 5.9648 | 0.73768 | DMSO
Luminescence
HW356070 | Inhibition % |  |  |  |  | Bottom | -7.11
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 86.46
10000 | 84.6262 | 87.0495 | 85.8379 | 1.7136 |  | R_IC50 | 236.4
3333.3333 | 87.4403 | 88.1445 | 87.7924 | 0.49798 |  | A_IC50 | 292.415
1111.1111 | 81.9831 | 81.4414 | 81.7122 | 0.38303
370.3704 | 61.6875 | 59.641 | 60.6642 | 1.4471
123.4568 | 8.9793 | 14.5435 | 11.7614 | 3.9345
41.1523 | -7.5027 | -3.4465 | -5.4746 | 2.8682
13.7174 | -9.7071 | -4.3182 | -7.0126 | 3.8105
4.5725 | -10.1136 | -5.0613 | -7.5875 | 3.5725
1.5242 | -3.793 | -7.9862 | -5.8896 | 2.965
0.050805 | -5.1026 | -2.8015 | -3.952 | 1.6271 | DMSO
Luminescence
HW356071 | Inhibition % |  |  |  |  | Bottom | -6.488
Cpd Conc.(nM) | Data 1 | Data 2 | Mean | SD |  | Top | 86.58
10000 | 86.5063 | 88.4658 | 87.4861 | 1.3856 |  | R_IC50 | 96.89
3333.3333 | 87.0665 | 86.9841 | 87.0253 | 0.058275 |  | A_IC50 | 117.489
1111.1111 | 88.2141 | 87.7559 | 87.985 | 0.32396
370.3704 | 77.2734 | 79.3823 | 78.3278 | 1.4913
123.4568 | 52.6442 | 54.9453 | 53.7948 | 1.6271
41.1523 | -1.4575 | 10.044 | 4.2933 | 8.1328
13.7174 | -9.7019 | -6.213 | -7.9574 | 2.467
4.5725 | -9.8431 | -2.9138 | -6.3784 | 4.8998
1.5242 | -1.6651 | -5.2415 | -3.4533 | 2.5289
0.050805 | -2.8004 | -1.2251 | -2.0127 | 1.1139 | DMSO
Note on J4: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J5: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J18: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J19: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J32: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J33: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J46: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J47: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J60: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J61: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)
Note on J74: XLfit: Fit Cell Model: 205 Data: A6:A15,D6:D15
Note on J75: XLfit: Chart Cell 1 Overlay 1: Fit Overlay (Fit Cell = I4)